Bydgoszcz, dnia 16.05.2017 r.

Uniwersytet Kazimierza Wielkiego w Bydgoszczy
Adres: 85-064 Bydgoszcz,
ul. Chodkiewicza 30

ZAPYTANIE OFERTOWE NR DZP-ZO-282-ZO-61/2017

Uniwersytet Kazimierza Wielkiego w Bydgoszczy ul. Chodkiewicza 30, 85-064 Bydgoszcz występuje z Zapytaniem Ofertowym na realizację zamówienia:
1. Tytuł zamówienia: Świadczenie usługi wsparcia technicznego na posiadane przez Zamawiającego urządzenia Cisco UCS wraz z podzespołami.
2. Rodzaj zamówienia: usługa
3. Opis przedmiotu zamówienia:
Przedłużenie o 365 dni kalendarzowych wsparcia technicznego wraz z serwisem producenta typu SMARTnet Support 8x5xNBD na posiadane urządzenia Cisco UCS. Kontrakt serwisowy dla serwerów UCS oraz obsługującego je oprogramowania (UCS Manager, oprogramowanie sterujące Fabric Interconnect’ami, modułami I/O oraz serwerami i innymi komponentami wchodzącymi w skład tych serwerów i obudów – chassis, o których mowa jest w Załączniku nr 2, będącego integralną częścią niniejszego zapytania ofertowego. Czas rozpoczęcia przedłużenia wsparcia technicznego naliczany będzie z zachowaniem ciągłości w funkcjonowaniu obecnie posiadanego kontraktu serwisowego, czyli najwcześniej 2 dni przed wygaśnięciem, lecz nie później niż na 12 godzin przed wygaśnięciem.
Produkt musi pochodzić z legalnego kanału dystrybucji (oficjalny kanał dystrybucji uznany przez Producenta) i musi zostać dostarczony przez Wykonawców, zgodnie z polityką firmy Cisco Systems. Serwis na posiadane urządzenia, z wymianą sprzętu w reżimie 8x5xNBD, czas trwania serwisu – 12 miesięcy, serwis ma zostać przypięty do konta CCO (www.cisco.com) osoby wyznaczonej przez Zamawiającego. Wymagane jest dostarczenie potwierdzenia numeru kontraktu serwisowego do Zamawiającego. Zamawiający wymaga, by podczas okresu objętego wsparciem można było aktualizować oprogramowanie systemu urządzeń Cisco UCS. Protokół odbioru zostanie podpisany po przedstawieniu przez autoryzowanego partnera Cisco (Wykonawcę) poświadczenia o uruchomieniu w/w kontraktu serwisowego (gwarancja, wsparcie techniczne i serwis producenta) w wyznaczonym terminie. Poświadczenie musi zostać potwierdzone podpisem (z imienia i nazwiska) uprawnionego pracownika firmy Cisco Systems – o. Polska.
4. Termin wykonania zamówienia: do 7 dni roboczych od dnia zawarcia umowy.
5. Opis sposobu obliczania ceny:
Cena musi obejmować wszelkie koszty, jakie poniesie Wykonawca z tytułu należytej oraz zgodnej z obowiązującymi przepisami realizacji przedmiotu zamówienia.
6. Kryteria wyboru oferty:
Wybór oferty dokonany zostanie na podstawie kryterium:
Cena ofertowa brutto - 100 %
Kryterium cena ofertowa brutto dokonana zostanie na podstawie informacji o cenie ofertowej brutto zawartej w „formularzu ofertowym”, stanowiącym Zał. nr 1 do zapytania ofertowego i przeliczona według wzoru:

        Najniższa zaoferowana cena
Ocena oferty X = --------------------------------------------- x 100 x 100%
        Cena oferty X

7. Sposób przygotowania oferty:
1) Każdy Wykonawca może złożyć tylko jedną ofertę.
2) Oferta musi być podpisana przez osoby upoważnione do reprezentowania Wykonawcy (Wykonawców wspólnie ubiegających się o udzielenie zamówienia).
3) Oferta musi być sporządzona w 1 egzemplarzu, w języku polskim i mieć formę pisemną.
4)	Do oferty należy dołączyć:
       a)	aktualne zaświadczenie o wpisie do rejestru CEIDG (Centralna Ewidencja i Informacja o Działalności Gospodarczej) lub aktualny odpisu z KRS.
       b)	pełnomocnictwo do podpisania oferty (oryginał lub kopia potwierdzona za zgodność z oryginałem przez notariusza), względnie do podpisania innych dokumentów składanych wraz z ofertą, o ile prawo do jej podpisania nie wynika z dokumentu rejestrowego załączonego do oferty.

8. Miejsce i termin składania oferty:
1) Ofertę należy złożyć w siedzibie Zamawiającego, tj. Uniwersytet Kazimierza Wielkiego, ul. Chodkiewicza 30, 85-064 Bydgoszcz, Kancelaria Główna, pokój 108, blok „C” w nieprzekraczalnym terminie:
do dnia:	19.05.2017	do godz.	12:00

Jako termin złożenia oferty będzie przyjęta data i godzina dostarczenia jej pod wskazany wyżej adres.
2) Ofertę należy złożyć lub przesłać w nieprzezroczystej, zabezpieczonej przed otwarciem kopercie. Kopertę należy opisać następująco:
Oferta
Nazwa i adres Wykonawcy: ………………………………………………………………..
Nazwa i adres Zamawiającego: Uniwersytet Kazimierza Wielkiego w Bydgoszczy
        ul. Chodkiewicza 30
        85-064 Bydgoszcz,
 Tytuł zamówienia: „Świadczenie usługi wsparcia technicznego na posiadane przez Zamawiającego urządzenia Cisco UCS wraz z podzespołami”
Zapytanie Ofertowe nr UKW-DZP-282-ZO-61/2017, nie otwierać przed 19.05.2017 r. godz. 12:00.

9. Opis warunków udziału w postępowaniu:
Wykonawcy ubiegający się o zamówienia musza spełniać łącznie niżej wymienione warunki udziału w postępowaniu dotyczące:
a) kompetencji lub uprawnień do prowadzenia określonej działalności zawodowej, o ile wynika to z odrębnych przepisów;
b) sytuacji ekonomicznej lub finansowej;
c) zdolności technicznej lub zawodowej
W celu potwierdzenia warunków udziału w postępowaniu należy złożyć wypełniony i podpisany Formularz Ofertowy, stanowiący załącznik nr 1.

10. Zamawiający zastrzega sobie prawo wyboru oferty o cenie wyższej, przy czym w takim wypadku uzasadni dokonanie wyboru.
11. Zamawiający zastrzega sobie prawo odwołania ogłoszenia o zamówieniu w przypadku zaistnienia uzasadnionych przyczyn, jak również prawo unieważnienia ogłoszenia o zamówieniu bez podania przyczyny.
12. W sprawie zamówienia należy kontaktować się z przedstawicielem Zamawiającego:
 a)	w sprawach merytorycznych – Michał Giżyński, tel. 52 32 57 649, michalg@ukw.edu.pl
 b)	w sprawach formalno-prawnych – Agnieszka Malinowska, 52 34 19 163, zampub@ukw.edu.pl

Załącznik nr 1

FORMULARZ OFERTOWY
DO ZAPYTANIA OFERTOWEGO UKW/DZP-282-ZO-61/2017

Dane dotyczące Wykonawcy:

Nazwa:
Siedziba:
Nr telefonu/faksu:
Nr NIP:
Nr REGON:
Osoba do kontaktu, tel. e-mail:

Nawiązując do ogłoszenia w trybie Zapytania Ofertowego na: „Świadczenie usługi wsparcia technicznego na posiadane przez Zamawiającego urządzenia Cisco UCS wraz z podzespołami” w zakresie i na warunkach określonych w Zapytaniu Ofertowym nr UKW/DZP-282-ZO-61/2017:
OFERUJEMY/ Oferuję wykonanie przedmiotu zamówienia za:
wartość ofertową brutto .....................................................................................zł
słownie ...................................................................................................................
podatek od towarów i usług .....................% wartość podatku .............……….zł
wartość netto ........................................................................................................zł
*zaokrąglić do 2 miejsc po przecinku.
1. Oświadczam/my, że w cenie oferty zostały uwzględnione wszystkie koszty związane z wykonaniem przedmiotu zamówienia (wykonanie, transport, rozładunek i montaż towaru w siedzibie Zamawiającego oraz wszelkie pozostałe koszty).
2. Zobowiązuje/my się wykonać całość przedmiotu zamówienia z należytą starannością.
3. Oświadczam/my, że spełniamy warunki udziału w postępowaniu zgodnie z ust. 9 Zapytania Ofertowego.
4. Zobowiązuje/my się wykonać zamówienie w terminie do 7 dni roboczych od dnia zawarcia umowy.
5. Oświadczam/my, że zapoznaliśmy się z Zapytaniem Ofertowym oraz wyjaśnieniami i ewentualnymi zmianami Zapytania Ofertowego przekazanymi przez Zamawiającego i uznajemy się za związanych określonymi w nich postanowieniami i zasadami postępowania.
6. Wyrażam/my zgodę na zapłacenie kar umownych na zasadach określonych w pkt. 3.2 niniejszego Zapytania Ofertowego.
7. Zgadzam/my się na przetwarzanie danych osobowych zgodnie z obowiązującymi, w tym zakresie przepisami prawnymi.
8. Załącznikami do oferty są:
……………………………………………..
……………………………………………..
………………………………………………
……………………………………….........

......................................., dnia .......................................

 ………..........................................................
(podpis Wykonawcy/Pełnomocnika)

Załącznik nr 2
Chassis 1:
    Product Name: Cisco UCS 5108
    PID: N20-C6508
    Vendor: Cisco Systems Inc
    Model: N20-C6508
    Serial (SN): FOX1625GAB5
    Servers:
        Server 1/1:
        Equipped Product Name: Cisco UCS B200 M3
        Equipped PID: UCSB-B200-M3
        Equipped Serial (SN): FCH16207LTC
        Acknowledged Effective Memory (MB): 131072
        Server 1/2:
        Equipped Product Name: Cisco UCS B200 M3
        Equipped PID: UCSB-B200-M3
        Equipped Serial (SN): FCH16207EXR
        Acknowledged Effective Memory (MB): 131072
        Server 1/3:
        Equipped Product Name: Cisco UCS B200 M3
        Equipped PID: UCSB-B200-M3
        Equipped Serial (SN): FCH1620742F
        Acknowledged Effective Memory (MB): 131072
        Server 1/4:
        Equipped Product Name: Cisco UCS B200 M3
        Equipped PID: UCSB-B200-M3
        Equipped Serial (SN): FCH16237K52
        Acknowledged Effective Memory (MB): 131072
        Server 1/5:
        Equipped Product Name: Cisco UCS B200 M3
        Equipped PID: UCSB-B200-M3
        Equipped Serial (SN): FCH16207K75
        Acknowledged Effective Memory (MB): 131072
        Server 1/6:
        Equipped Product Name: Cisco UCS B200 M3
        Equipped PID: UCSB-B200-M3
        Equipped Serial (SN): FCH16237DZ3
        Acknowledged Effective Memory (MB): 131072
        Server 1/7:
        Equipped Product Name: Cisco UCS B200 M3
        Equipped PID: UCSB-B200-M3
        Equipped Serial (SN): FCH2020JAGL
        Acknowledged Effective Memory (MB): 262144
    PSU 1:
        Product Name: 2500W 200-240VAC PSU for UCS 5108 Blade Server Chassis
        Serial (SN): DTM16110119
    PSU 2:
        Product Name: 2500W 200-240VAC PSU for UCS 5108 Blade Server Chassis
        Serial (SN): DTM161101EQ
    PSU 3:
        Product Name: 2500W 200-240VAC PSU for UCS 5108 Blade Server Chassis
        Serial (SN): DTM161101CE
    PSU 4:
        Product Name: 2500W 200-240VAC PSU for UCS 5108 Blade Server Chassis
        Serial (SN): DTM1611011F
    Fan Modules:
        Tray 1 Module 1:
        Product Name: Fan Module for UCS 5108 Blade Server Chassis
        Serial (SN): NWG164203A1
        Fans:
        ID 1:
        Product Name: Fan Module for UCS 5108 Blade Server Chassis
        Serial (SN): NWG164203A1
        ID 2:
        Product Name: Fan Module for UCS 5108 Blade Server Chassis
        Serial (SN): NWG164203A1
        Product Name: Fan Module for UCS 5108 Blade Server Chassis
        Serial (SN): NWG162209EB
        Fans:
        ID 1:
        Product Name: Fan Module for UCS 5108 Blade Server Chassis
        Serial (SN): NWG162209EB
        ID 2:
        Product Name: Fan Module for UCS 5108 Blade Server Chassis
        Serial (SN): NWG162209EB
        Product Name: Fan Module for UCS 5108 Blade Server Chassis
        Serial (SN): NWG1622089V
        Fans:
        ID 1:
        Product Name: Fan Module for UCS 5108 Blade Server Chassis
        Serial (SN): NWG1622089V
        ID 2:
        Product Name: Fan Module for UCS 5108 Blade Server Chassis
        Serial (SN): NWG1622089V
        Product Name: Fan Module for UCS 5108 Blade Server Chassis
        Serial (SN): NWG1622094M
        Fans:
        ID 1:
        Product Name: Fan Module for UCS 5108 Blade Server Chassis
        Serial (SN): NWG1622094M
        ID 2:
        Product Name: Fan Module for UCS 5108 Blade Server Chassis
        Serial (SN): NWG1622094M
        Product Name: Fan Module for UCS 5108 Blade Server Chassis
        Serial (SN): NWG164308HQ
        Fans:
        ID 1:
        Product Name: Fan Module for UCS 5108 Blade Server Chassis
        Serial (SN): NWG164308HQ
        ID 2:
        Product Name: Fan Module for UCS 5108 Blade Server Chassis
        Serial (SN): NWG164308HQ
        Product Name: Fan Module for UCS 5108 Blade Server Chassis
        Serial (SN): NWG162308SE
        Fans:
        ID 1:
        Product Name: Fan Module for UCS 5108 Blade Server Chassis
        Serial (SN): NWG162308SE
        ID 2:
        Product Name: Fan Module for UCS 5108 Blade Server Chassis
        Serial (SN): NWG162308SE
        Product Name: Fan Module for UCS 5108 Blade Server Chassis
        Serial (SN): NWG16230AC2
        Fans:
        ID 1:
        Product Name: Fan Module for UCS 5108 Blade Server Chassis
        Serial (SN): NWG16230AC2
        ID 2:
        Product Name: Fan Module for UCS 5108 Blade Server Chassis
        Serial (SN): NWG16230AC2
        Product Name: Fan Module for UCS 5108 Blade Server Chassis
        Serial (SN): NWG162208GW
        Fans:
        ID 1:
        Product Name: Fan Module for UCS 5108 Blade Server Chassis
        Serial (SN): NWG162208GW
        ID 2:
        Product Name: Fan Module for UCS 5108 Blade Server Chassis
        Serial (SN): NWG162208GW
    IOCard 1:
        Product Name: Cisco UCS 2208XP
        PID: UCS-IOM-2208XP
        Serial (SN): FCH1617775P
    IOCard 2:
        Product Name: Cisco UCS 2208XP
        PID: UCS-IOM-2208XP
        Serial (SN): FCH16197A6J
    Fabric Facing Interfaces:
        Xcvr Vendor: CISCO-MOLEX
        Xcvr Model: 74752-9520
        Xcvr Serial: MOC16210HUZ
        Xcvr Vendor: CISCO-MOLEX
        Xcvr Model: 74752-9520
        Xcvr Serial: MOC16210HVN
        Xcvr Vendor: CISCO-MOLEX
        Xcvr Model: 74752-9520
        Xcvr Serial: MOC16210HU6
        Xcvr Vendor: CISCO-MOLEX
        Xcvr Model: 74752-9520
        Xcvr Serial: MOC16210HUZ
        Xcvr Vendor: CISCO-TYCO
        Xcvr Model: 1-2053783-2
        Xcvr Serial: TED1611B63B
        Xcvr Vendor: CISCO-TYCO
        Xcvr Model: 1-2053783-2
        Xcvr Serial: TED1611B633
        Xcvr Vendor: CISCO-TYCO
        Xcvr Model: 1-2053783-2
        Xcvr Serial: TED1611B1Z3
        Xcvr Vendor: CISCO-TYCO
        Xcvr Model: 1-2053783-2
        Xcvr Serial: TED1611B1XW
    Storage Controller: sys/chassis-1/blade-1/board/storage-SAS-1:
        ID: 1
        Model: LSI MegaRAID SAS 2004 ROMB
    Storage Controller: sys/chassis-1/blade-2/board/storage-SAS-1:
        ID: 1
        Model: LSI MegaRAID SAS 2004 ROMB
    Storage Controller: sys/chassis-1/blade-3/board/storage-SAS-1:
        ID: 1
        Model: LSI MegaRAID SAS 2004 ROMB
    Storage Controller: sys/chassis-1/blade-4/board/storage-SAS-1:
        ID: 1
        Model: LSI MegaRAID SAS 2004 ROMB
    Storage Controller: sys/chassis-1/blade-5/board/storage-SAS-1:
        ID: 1
        Model: LSI MegaRAID SAS 2004 ROMB
    Storage Controller: sys/chassis-1/blade-6/board/storage-SAS-1:
        ID: 1
        Model: LSI MegaRAID SAS 2004 ROMB
    Storage Controller: sys/chassis-1/blade-7/board/storage-SAS-1:
        ID: 1
        Model: LSI MegaRAID SAS 2004 ROMB
    Storage Local Disk: 1:
        Model: ST9300605SS
        Vendor: SEAGATE
        Serial: 6XP3JKR20000B2419KWA
        Vendor Description: Seagate Technology LLC
        Product Name: 300GB 6Gb SAS 10K RPM 2.5 in. HDD/hot plug/drive sled mounted
    Storage Local Disk: 2:
        Model: ST9300605SS
        Vendor: SEAGATE
        Serial: 6XP3JKPX0000B249ED13
        Vendor Description: Seagate Technology LLC
        Product Name: 300GB 6Gb SAS 10K RPM 2.5 in. HDD/hot plug/drive sled mounted
    Storage Local Disk: 1:
        Model: ST9300605SS
        Vendor: SEAGATE
        Serial: 6XP3JKQP0000B249G7BD
        Vendor Description: Seagate Technology LLC
        Product Name: 300GB 6Gb SAS 10K RPM 2.5 in. HDD/hot plug/drive sled mounted
    Storage Local Disk: 2:
        Model: ST9300605SS
        Vendor: SEAGATE
        Serial: 6XP3JKMY0000B249ED14
        Vendor Description: Seagate Technology LLC
        Product Name: 300GB 6Gb SAS 10K RPM 2.5 in. HDD/hot plug/drive sled mounted
    Storage Local Disk: 1:
        Model: ST9300605SS
        Vendor: SEAGATE
        Serial: 6XP3JKX60000B249G2FB
        Vendor Description: Seagate Technology LLC
        Product Name: 300GB 6Gb SAS 10K RPM 2.5 in. HDD/hot plug/drive sled mounted
    Storage Local Disk: 2:
        Model: ST9300605SS
        Vendor: SEAGATE
        Serial: 6XP3HBPT0000B249G4P1
        Vendor Description: Seagate Technology LLC
        Product Name: 300GB 6Gb SAS 10K RPM 2.5 in. HDD/hot plug/drive sled mounted
    Storage Local Disk: 1:
        Model: ST9300605SS
        Vendor: SEAGATE
        Serial: 6XP3JL8X0000B249AMNC
        Vendor Description: Seagate Technology LLC
        Product Name: 300GB 6Gb SAS 10K RPM 2.5 in. HDD/hot plug/drive sled mounted
    Storage Local Disk: 2:
        Model: ST9300605SS
        Vendor: SEAGATE
        Serial: 6XP3HQA00000B240E9D4
        Vendor Description: Seagate Technology LLC
        Product Name: 300GB 6Gb SAS 10K RPM 2.5 in. HDD/hot plug/drive sled mounted
     Storage Local Disk: 1:
        Model: ST9300605SS
        Vendor: SEAGATE
        Serial: 6XP3HCQ40000M247X1H3
        Vendor Description: Seagate Technology LLC
        Product Name: 300GB 6Gb SAS 10K RPM 2.5 in. HDD/hot plug/drive sled mounted
    Storage Local Disk: 2:
        Model: ST9300605SS
        Vendor: SEAGATE
        Serial: 6XP3HCP90000M248GLL0
        Vendor Description: Seagate Technology LLC
        Product Name: 300GB 6Gb SAS 10K RPM 2.5 in. HDD/hot plug/drive sled mounted
    Storage Local Disk: 1:
        Model: ST9300605SS
        Vendor: SEAGATE
        Serial: 6XP3JLN60000B249EE63
        Vendor Description: Seagate Technology LLC
        Product Name: 300GB 6Gb SAS 10K RPM 2.5 in. HDD/hot plug/drive sled mounted
    Storage Local Disk: 2:
        Model: ST9300605SS
        Vendor: SEAGATE
        Serial: 6XP3HA9R0000M2389EWH
        Product Name: 300GB 6Gb SAS 10K RPM 2.5 in. HDD/hot plug/drive sled mounted
    Storage Local Disk: 1:
        Model: Micron_P400e-MTFDDAK100MAR
        Vendor: ATA
        Serial: 14150C11FF82
        Vendor Description: Micron - 2C00
        Product Name: 100GB Read SATA SSD hot plug || 7mm drive sled/15mm drive sled
Chassis 2:
    Product Name: Cisco UCS 5108
    PID: N20-C6508
    Vendor: Cisco Systems Inc
    Model: N20-C6508
    Serial (SN): FOX1650GX79
    Servers:
        Server 2/1:
        Equipped Product Name: Cisco UCS B420 M3
        Equipped PID: UCSB-B420-M3
        Equipped Serial (SN): FCH16447HBG
        Acknowledged Effective Memory (MB): 262144
        Server 2/3:
        Equipped Product Name: Cisco UCS B200 M3
        Equipped PID: UCSB-B200-M3
        Equipped Serial (SN): FCH1702JAHL
        Acknowledged Effective Memory (MB): 131072
        Server 2/4:
        Equipped Product Name: Cisco UCS B200 M3
        Equipped PID: UCSB-B200-M3
        Equipped Serial (SN): FCH1702JACJ
        Acknowledged Effective Memory (MB): 131072
        Server 2/5:
        Equipped Product Name: Cisco UCS B200 M3
        Equipped PID: UCSB-B200-M3
        Equipped Serial (SN): FCH1702JAU2
        Acknowledged Effective Memory (MB): 131072
        Server 2/6:
        Equipped Product Name: Cisco UCS B200 M3
        Equipped PID: UCSB-B200-M3
        Equipped Serial (SN): FCH18277R8H
        Acknowledged Effective Memory (MB): 262144
        Server 2/7:
        Equipped Product Name: Cisco UCS B200 M3
        Equipped PID: UCSB-B200-M3
        Equipped Serial (SN): FCH18277RV2
        Acknowledged Effective Memory (MB): 262144
        Server 2/8:
        Equipped Product Name: Cisco UCS B200 M3
        Equipped PID: UCSB-B200-M3
        Equipped Serial (SN): FCH20287G36
        Acknowledged Effective Memory (MB): 262144
    PSU 1:
        Product Name: Platinum AC PSU for N20-C6508 Blade Server Chassis
        Serial (SN): DTM162503W9
    PSU 2:
        Product Name: Platinum AC PSU for N20-C6508 Blade Server Chassis
        Serial (SN): AZS17150GRL
    PSU 3:
        Product Name: Platinum AC PSU for N20-C6508 Blade Server Chassis
        Serial (SN): DTM1625003K
    PSU 4:
        Product Name: Platinum AC PSU for N20-C6508 Blade Server Chassis
        PID: UCSB-PSU-2500ACPL
        Serial (SN): DTM1625036T
    Fan Modules:
        Tray 1 Module 1:
        Product Name: Fan Module for UCS 5108 Blade Server Chassis
        Serial (SN): NWG1622089X
        Fans:
        ID 1:
        Product Name: Fan Module for UCS 5108 Blade Server Chassis
        Serial (SN): NWG1622089X
        ID 2:
        Product Name: Fan Module for UCS 5108 Blade Server Chassis
        Serial (SN): NWG1622089X
        Product Name: Fan Module for UCS 5108 Blade Server Chassis
        Serial (SN): NWG162206RK
        Fans:
        ID 1:
        Product Name: Fan Module for UCS 5108 Blade Server Chassis
        Serial (SN): NWG162206RK
        ID 2:
        Product Name: Fan Module for UCS 5108 Blade Server Chassis
        Serial (SN): NWG162206RK
        Product Name: Fan Module for UCS 5108 Blade Server Chassis
        Serial (SN): NWG164308L9
        Fans:
        ID 1:
        Product Name: Fan Module for UCS 5108 Blade Server Chassis
        Serial (SN): NWG164308L9
        ID 2:
        Product Name: Fan Module for UCS 5108 Blade Server Chassis
        Serial (SN): NWG164308L9
        Product Name: Fan Module for UCS 5108 Blade Server Chassis
        Serial (SN): NWG164305T9
        Fans:
        ID 1:
        Product Name: Fan Module for UCS 5108 Blade Server Chassis
        Serial (SN): NWG164305T9
        ID 2:
        Product Name: Fan Module for UCS 5108 Blade Server Chassis
        Serial (SN): NWG164305T9
        Product Name: Fan Module for UCS 5108 Blade Server Chassis
        Serial (SN): NWG164204T1
        Fans:
        ID 1:
        Product Name: Fan Module for UCS 5108 Blade Server Chassis
        Serial (SN): NWG164204T1
        ID 2:
        Product Name: Fan Module for UCS 5108 Blade Server Chassis
        Serial (SN): NWG164204T1
        Product Name: Fan Module for UCS 5108 Blade Server Chassis
        Serial (SN): NWG164306CE
        Fans:
        ID 1:
        Product Name: Fan Module for UCS 5108 Blade Server Chassis
        PID: N20-FAN5
        Serial (SN): NWG164306CE
        ID 2:
        Product Name: Fan Module for UCS 5108 Blade Server Chassis
        Serial (SN): NWG164306CE
        Product Name: Fan Module for UCS 5108 Blade Server Chassis
        Serial (SN): NWG164308HP
        Fans:
        ID 1:
        Product Name: Fan Module for UCS 5108 Blade Server Chassis
        Serial (SN): NWG164308HP
        ID 2:
        Product Name: Fan Module for UCS 5108 Blade Server Chassis
        Serial (SN): NWG164308HP
        Product Name: Fan Module for UCS 5108 Blade Server Chassis
        Serial (SN): NWG1643060Z
        Fans:
        ID 1:
        Product Name: Fan Module for UCS 5108 Blade Server Chassis
        Serial (SN): NWG1643060Z
        ID 2:
        Product Name: Fan Module for UCS 5108 Blade Server Chassis
        Serial (SN): NWG1643060Z
    IOCard 1:
        Product Name: Cisco UCS 2208XP
        Serial (SN): FCH1701J7Z6
    IOCard 2:
        Product Name: Cisco UCS 2208XP
        Serial (SN): FCH1701J83A
    Fabric Facing Interfaces:
        Xcvr Vendor: CISCO-TYCO
        Xcvr Model: 1-2053783-2
        Xcvr Serial: TED1648B1YQ
        Xcvr Vendor: CISCO-TYCO
        Xcvr Model: 1-2053783-2
        Xcvr Serial: TED1648B1JB
        Xcvr Vendor: CISCO-TYCO
        Xcvr Model: 1-2053783-2
        Xcvr Serial: TED1648B25K
        Xcvr Vendor: CISCO-TYCO
        Xcvr Model: 1-2053783-2
        Xcvr Serial: TED1647B6VV
        Xcvr Vendor: CISCO-TYCO
        Xcvr Model: 1-2053783-3
        Xcvr Serial: TED1822C4HX
        Xcvr Vendor: CISCO-TYCO
        Xcvr Model: 1-2053783-3
        Xcvr Serial: TED1822C1RW
        Xcvr Vendor: CISCO-TYCO
        Xcvr Model: 1-2053783-3
        Xcvr Serial: TED1822C4HP
        Xcvr Vendor: CISCO-TYCO
        Xcvr Model: 1-2053783-3
        Xcvr Serial: TED1822C1RU
        Xcvr Vendor: CISCO-TYCO
        Xcvr Model: 1-2053783-2
        Xcvr Serial: TED1648B2E2
        Xcvr Vendor: CISCO-TYCO
        Xcvr Model: 1-2053783-2
        Xcvr Serial: TED1648B1YP
        Xcvr Vendor: CISCO-TYCO
        Xcvr Model: 1-2053783-2
        Xcvr Serial: TED1648B1Z7
        Xcvr Vendor: CISCO-TYCO
        Xcvr Model: 1-2053783-2
        Xcvr Serial: TED1647B6VN
        Xcvr Vendor: CISCO-TYCO
        Xcvr Model: 1-2053783-3
        Xcvr Serial: TED1822C1RX
        Xcvr Vendor: CISCO-TYCO
        Xcvr Model: 1-2053783-3
        Xcvr Serial: TED1822C4HS
        Xcvr Vendor: CISCO-TYCO
        Xcvr Model: 1-2053783-3
        Xcvr Serial: TED1822C1R7
        Xcvr Vendor: CISCO-TYCO
        Xcvr Model: 1-2053783-3
        Xcvr Serial: TED1822C1XC
    Storage Controller: sys/chassis-2/blade-1/board/storage-SAS-1:
        ID: 1
        Model: LSI MegaRAID SAS 2208 ROMB
    Storage Controller: sys/chassis-2/blade-3/board/storage-SAS-1:
        ID: 1
        Model: LSI MegaRAID SAS 2004 ROMB
    Storage Controller: sys/chassis-2/blade-4/board/storage-SAS-1:
        ID: 1
        Model: LSI MegaRAID SAS 2004 ROMB
    Storage Controller: sys/chassis-2/blade-5/board/storage-SAS-1:
        ID: 1
        Model: LSI MegaRAID SAS 2004 ROMB
    Storage Controller: sys/chassis-2/blade-6/board/storage-SAS-1:
        ID: 1
        Model: LSI MegaRAID SAS 2004 ROMB
    Storage Controller: sys/chassis-2/blade-7/board/storage-SAS-1:
        ID: 1
        Model: LSI MegaRAID SAS 2004 ROMB
    Storage Controller: sys/chassis-2/blade-8/board/storage-SAS-1:
        ID: 1
        Model: LSI MegaRAID SAS 2004 ROMB
    Storage Local Disk: 1:
        Model: MBF2300RC
        Vendor: TOSHIBA
        Serial: EB10PC9055TE
        Product Name: 300GB 6Gb SAS 10K RPM SFF HDD/hot plug/drive sled mounted
    Storage Local Disk: 1:
        Model: Micron_P400e-MTFDDAK100MAR
        Vendor: ATA
        Serial: 14150C11FF04
        Product Name: 100GB Read SATA SSD hot plug || 7mm drive sled/15mm drive sled
    Storage Local Disk: 1:
        Model: Micron_P400e-MTFDDAK100MAR
        Vendor: ATA
        Serial: 14150C11FF28
        Product Name: 100GB Read SATA SSD hot plug || 7mm drive sled/15mm drive sled
    Storage Local Disk: 1:
        Model: Micron_P400e-MTFDDAK100MAR
        Vendor: ATA
        Serial: 14150C11FF52
        Product Name: 100GB Read SATA SSD hot plug || 7mm drive sled/15mm drive sled
    Storage Local Disk: 1:
        Model: Micron_P400e-MTFDDAK100MAR
        Vendor: ATA
        Serial: 14150C11FF2C
        Product Name: 100GB Read SATA SSD hot plug || 7mm drive sled/15mm drive sled
    Storage Local Disk: 1:
        Model: Micron_P400e-MTFDDAK100MAR
        Vendor: ATA
        Serial: 14150C11FFB2
        Vendor Description: Micron - 2C00
        Product Name: 100GB Read SATA SSD hot plug || 7mm drive sled/15mm drive sled
    Storage Local Disk: 1:
        Model: Micron_P400e-MTFDDAK100MAR
        Vendor: ATA
        Serial: 14150C11FF09
        Product Name: 100GB Read SATA SSD hot plug || 7mm drive sled/15mm drive sled
   Fabric Interconnect
A:
    Product Name: Cisco UCS 6248UP
    PID: UCS-FI-6248UP
    Vendor: Cisco Systems, Inc.
    Serial (SN): SSI15200A9M
B:
    Product Name: Cisco UCS 6248UP
    PID: UCS-FI-6248UP
    Vendor: Cisco Systems, Inc.
    Serial (SN): SSI16160MK1
Server 1/1:
    Motherboard:
        Product Name: Cisco UCS B200 M3
        Vendor: Cisco Systems Inc
        Serial (SN): FCH16207LTC
        ID 1:
        Product Name: 8GB DDR3-1600-MHz RDIMM/PC3-12800/dual rank/1.35v
        PID: UCS-MR-1X082RY-A
        Vendor Description: Samsung Electronics, Inc.
        Vendor Part Number: M393B1K70DH0-YK0
        Vendor Serial (SN): 33DF9D6C
        ID 2:
        Product Name: 8GB DDR3-1600-MHz RDIMM/PC3-12800/dual rank/1.35v
        PID: UCS-MR-1X082RY-A
        Vendor Description: Samsung Electronics, Inc.
        Vendor Part Number: M393B1K70DH0-YK0
        Vendor Serial (SN): 33DF9DE8
        ID 4:
        Product Name: 8GB DDR3-1600-MHz RDIMM/PC3-12800/dual rank/1.35v
        Vendor Description: Samsung Electronics, Inc.
        Vendor Part Number: M393B1K70DH0-YK0
        Vendor Serial (SN): 33CD287E
        ID 5:
        Product Name: 8GB DDR3-1600-MHz RDIMM/PC3-12800/dual rank/1.35v
        Vendor Description: Samsung Electronics, Inc.
        Vendor Part Number: M393B1K70DH0-YK0
        Vendor Serial (SN): 33CD2882
        ID 7:
        Product Name: 8GB DDR3-1600-MHz RDIMM/PC3-12800/dual rank/1.35v
        Vendor Description: Samsung Electronics, Inc.
        Vendor Part Number: M393B1K70DH0-YK0
        Vendor Serial (SN): 83D1F2E9
        ID 8:
        Product Name: 8GB DDR3-1600-MHz RDIMM/PC3-12800/dual rank/1.35v
        Vendor Description: Samsung Electronics, Inc.
        Vendor Part Number: M393B1K70DH0-YK0
        Vendor Serial (SN): 83D1F2E7
        ID 10:
        Product Name: 8GB DDR3-1600-MHz RDIMM/PC3-12800/dual rank/1.35v
        Vendor Description: Samsung Electronics, Inc.
        Vendor Part Number: M393B1K70DH0-YK0
        Vendor Serial (SN): 83D1F2EA
        ID 11:
        Product Name: 8GB DDR3-1600-MHz RDIMM/PC3-12800/dual rank/1.35v
        Vendor Description: Samsung Electronics, Inc.
        Vendor Part Number: M393B1K70DH0-YK0
        Vendor Serial (SN): 83D1F2E5
        ID 13:
        Product Name: 8GB DDR3-1600-MHz RDIMM/PC3-12800/dual rank/1.35v
        Vendor Description: Samsung Electronics, Inc.
        Vendor Part Number: M393B1K70DH0-YK0
        Vendor Serial (SN): 83D1F43F
        ID 14:
        Product Name: 8GB DDR3-1600-MHz RDIMM/PC3-12800/dual rank/1.35v
        Vendor Description: Samsung Electronics, Inc.
        Vendor Part Number: M393B1K70DH0-YK0
        Vendor Serial (SN): 83D1F418
        ID 16:
        Product Name: 8GB DDR3-1600-MHz RDIMM/PC3-12800/dual rank/1.35v
        PID: UCS-MR-1X082RY-A
        Vendor Description: Samsung Electronics, Inc.
        Vendor Part Number: M393B1K70DH0-YK0
        Vendor Serial (SN): 83D1F446
        ID 17:
        Product Name: 8GB DDR3-1600-MHz RDIMM/PC3-12800/dual rank/1.35v
        Vendor Description: Samsung Electronics, Inc.
        Vendor Part Number: M393B1K70DH0-YK0
        Vendor Serial (SN): 83D1F2EB
        ID 19:
        Product Name: 8GB DDR3-1600-MHz RDIMM/PC3-12800/dual rank/1.35v
        Vendor Description: Samsung Electronics, Inc.
        Vendor Part Number: M393B1K70DH0-YK0
        Vendor Serial (SN): 83D1F2DF
        ID 20:
        Product Name: 8GB DDR3-1600-MHz RDIMM/PC3-12800/dual rank/1.35v
        Vendor Description: Samsung Electronics, Inc.
        Vendor Part Number: M393B1K70DH0-YK0
        Vendor Serial (SN): 83D1F2E1
        ID 22:
        Product Name: 8GB DDR3-1600-MHz RDIMM/PC3-12800/dual rank/1.35v
        Vendor Description: Samsung Electronics, Inc.
        Vendor Part Number: M393B1K70DH0-YK0
        Vendor Serial (SN): 83D1F2E6
        ID 23:
        Product Name: 8GB DDR3-1600-MHz RDIMM/PC3-12800/dual rank/1.35v
        Vendor Description: Samsung Electronics, Inc.
        Vendor Part Number: M393B1K70DH0-YK0
        Vendor Serial (SN): 83D1F2E3
        CPUs:
        ID: 1
        Product Name: Intel(R) Xeon(R) E5-2665
        PID: UCS-CPU-E5-2665
        ID: 2
        Product Name: Intel(R) Xeon(R) E5-2665
        PID: UCS-CPU-E5-2665
    Adapters:
        Product Name: Cisco UCS VIC 1240
        Serial: FCH16217WWT
Server 1/2:
    Motherboard:
        Product Name: Cisco UCS B200 M3
        Vendor: Cisco Systems Inc
        Serial (SN): FCH16207EXR
        ID 1:
        Product Name: 8GB DDR3-1600-MHz RDIMM/PC3-12800/dual rank/1.35v
        Vendor Description: Samsung Electronics, Inc.
        Vendor Part Number: M393B1K70DH0-YK0
        Vendor Serial (SN): 33DF99CA
        ID 2:
        Product Name: 8GB DDR3-1600-MHz RDIMM/PC3-12800/dual rank/1.35v
        Vendor Description: Samsung Electronics, Inc.
        Vendor Part Number: M393B1K70DH0-YK0
        Vendor Serial (SN): 33DF9B5B
        ID 4:
        Product Name: 8GB DDR3-1600-MHz RDIMM/PC3-12800/dual rank/1.35v
        Vendor Description: Samsung Electronics, Inc.
        Vendor Part Number: M393B1K70DH0-YK0
        Vendor Serial (SN): 33DF9DE3
        ID 5:
        Product Name: 8GB DDR3-1600-MHz RDIMM/PC3-12800/dual rank/1.35v
        Vendor Description: Samsung Electronics, Inc.
        Vendor Part Number: M393B1K70DH0-YK0
        Vendor Serial (SN): 33DF9BEC
        ID 7:
        Product Name: 8GB DDR3-1600-MHz RDIMM/PC3-12800/dual rank/1.35v
        Vendor Description: Samsung Electronics, Inc.
        Vendor Part Number: M393B1K70DH0-YK0
        Vendor Serial (SN): 33DF9B09
        ID 8:
        Product Name: 8GB DDR3-1600-MHz RDIMM/PC3-12800/dual rank/1.35v
        Vendor Description: Samsung Electronics, Inc.
        Vendor Part Number: M393B1K70DH0-YK0
        Vendor Serial (SN): 33DF9BEA
        ID 10:
        Product Name: 8GB DDR3-1600-MHz RDIMM/PC3-12800/dual rank/1.35v
        Vendor Description: Samsung Electronics, Inc.
        Vendor Part Number: M393B1K70DH0-YK0
        Vendor Serial (SN): 33DF9DAA
        ID 11:
        Product Name: 8GB DDR3-1600-MHz RDIMM/PC3-12800/dual rank/1.35v
        Vendor Description: Samsung Electronics, Inc.
        Vendor Part Number: M393B1K70DH0-YK0
        Vendor Serial (SN): 33DF9B61
        ID 13:
        Product Name: 8GB DDR3-1600-MHz RDIMM/PC3-12800/dual rank/1.35v
        Vendor Description: Samsung Electronics, Inc.
        Vendor Part Number: M393B1K70DH0-YK0
        Vendor Serial (SN): 33DF9DE4
        ID 14:
        Product Name: 8GB DDR3-1600-MHz RDIMM/PC3-12800/dual rank/1.35v
        Vendor Description: Samsung Electronics, Inc.
        Vendor Part Number: M393B1K70DH0-YK0
        Vendor Serial (SN): 33DF9DA9
        ID 16:
        Product Name: 8GB DDR3-1600-MHz RDIMM/PC3-12800/dual rank/1.35v
        Vendor Description: Samsung Electronics, Inc.
        Vendor Part Number: M393B1K70DH0-YK0
        Vendor Serial (SN): 33DF9B5C
        ID 17:
        Product Name: 8GB DDR3-1600-MHz RDIMM/PC3-12800/dual rank/1.35v
        Vendor Description: Samsung Electronics, Inc.
        Vendor Part Number: M393B1K70DH0-YK0
        Vendor Serial (SN): 33DF9DE2
        ID 19:
        Product Name: 8GB DDR3-1600-MHz RDIMM/PC3-12800/dual rank/1.35v
        Vendor Description: Samsung Electronics, Inc.
        Vendor Part Number: M393B1K70DH0-YK0
        Vendor Serial (SN): 33DF9AE6
        ID 20:
        Product Name: 8GB DDR3-1600-MHz RDIMM/PC3-12800/dual rank/1.35v
        Vendor Description: Samsung Electronics, Inc.
        Vendor Part Number: M393B1K70DH0-YK0
        Vendor Serial (SN): 33DF9D6B
        ID 22:
        Product Name: 8GB DDR3-1600-MHz RDIMM/PC3-12800/dual rank/1.35v
        Vendor Description: Samsung Electronics, Inc.
        Vendor Part Number: M393B1K70DH0-YK0
        Vendor Serial (SN): 33DF9B08
        ID 23:
        Product Name: 8GB DDR3-1600-MHz RDIMM/PC3-12800/dual rank/1.35v
        Vendor Description: Samsung Electronics, Inc.
        Vendor Part Number: M393B1K70DH0-YK0
        Vendor Serial (SN): 33DF9BE7
        CPUs:
        ID: 1
        Product Name: Intel(R) Xeon(R) E5-2665
        PID: UCS-CPU-E5-2665
        ID: 2
        Product Name: Intel(R) Xeon(R) E5-2665
        PID: UCS-CPU-E5-2665
    Adapters:
        Product Name: Cisco UCS VIC 1240
        Serial: FCH16217Y5H
Server 1/3:
    Motherboard:
        Product Name: Cisco UCS B200 M3
        Vendor: Cisco Systems Inc
        Serial (SN): FCH1620742F
        ID 1:
        Product Name: 8GB DDR3-1600-MHz RDIMM/PC3-12800/dual rank/1.35v
        Vendor Description: Samsung Electronics, Inc.
        Vendor Part Number: M393B1K70DH0-YK0
        Vendor Serial (SN): 83D1F416
        ID 2:
        Product Name: 8GB DDR3-1600-MHz RDIMM/PC3-12800/dual rank/1.35v
        Vendor Description: Samsung Electronics, Inc.
        Vendor Part Number: M393B1K70DH0-YK0
        Vendor Serial (SN): 83D1F436
        ID 4:
        Product Name: 8GB DDR3-1600-MHz RDIMM/PC3-12800/dual rank/1.35v
        Vendor Description: Samsung Electronics, Inc.
        Vendor Part Number: M393B1K70DH0-YK0
        Vendor Serial (SN): 83D1F43C
        ID 5:
        Product Name: 8GB DDR3-1600-MHz RDIMM/PC3-12800/dual rank/1.35v
        PID: UCS-MR-1X082RY-A
        Vendor Description: Samsung Electronics, Inc.
        Vendor Part Number: M393B1K70DH0-YK0
        Vendor Serial (SN): 33DF92AD
        ID 6:
        Product Name:
        PID:
        Vendor:
        Vendor Description:
        Vendor Part Number:
        Vendor Serial (SN):
        ID 7:
        Product Name: 8GB DDR3-1600-MHz RDIMM/PC3-12800/dual rank/1.35v
        PID: UCS-MR-1X082RY-A
        Vendor Description: Samsung Electronics, Inc.
        Vendor Part Number: M393B1K70DH0-YK0
        Vendor Serial (SN): 33D7290F
        ID 8:
        Product Name: 8GB DDR3-1600-MHz RDIMM/PC3-12800/dual rank/1.35v
        PID: UCS-MR-1X082RY-A
        Vendor Description: Samsung Electronics, Inc.
        Vendor Part Number: M393B1K70DH0-YK0
        Vendor Serial (SN): 33D72721
        ID 9:
        Product Name:
        PID:
        Vendor:
        Vendor Description:
        Vendor Part Number:
        Vendor Serial (SN):
        ID 10:
        Product Name: 8GB DDR3-1600-MHz RDIMM/PC3-12800/dual rank/1.35v
        PID: UCS-MR-1X082RY-A
        Vendor Description: Samsung Electronics, Inc.
        Vendor Part Number: M393B1K70DH0-YK0
        Vendor Serial (SN): 33D728A4
        ID 11:
        Product Name: 8GB DDR3-1600-MHz RDIMM/PC3-12800/dual rank/1.35v
        PID: UCS-MR-1X082RY-A
        Vendor Description: Samsung Electronics, Inc.
        Vendor Part Number: M393B1K70DH0-YK0
        Vendor Serial (SN): 33D728A9
        ID 12:
        Product Name:
        PID:
        Vendor:
        Vendor Description:
        Vendor Part Number:
        Vendor Serial (SN):
        ID 13:
        Product Name: 8GB DDR3-1600-MHz RDIMM/PC3-12800/dual rank/1.35v
        PID: UCS-MR-1X082RY-A
        Vendor Description: Samsung Electronics, Inc.
        Vendor Part Number: M393B1K70DH0-YK0
        Vendor Serial (SN): 33D72983
        ID 14:
        Product Name: 8GB DDR3-1600-MHz RDIMM/PC3-12800/dual rank/1.35v
        PID: UCS-MR-1X082RY-A
        Vendor Description: Samsung Electronics, Inc.
        Vendor Part Number: M393B1K70DH0-YK0
        Vendor Serial (SN): 33D72872
        ID 15:
        Product Name:
        PID:
        Vendor:
        Vendor Description:
        Vendor Part Number:
        Vendor Serial (SN):
        ID 16:
        Product Name: 8GB DDR3-1600-MHz RDIMM/PC3-12800/dual rank/1.35v
        PID: UCS-MR-1X082RY-A
        Vendor Description: Samsung Electronics, Inc.
        Vendor Part Number: M393B1K70DH0-YK0
        Vendor Serial (SN): 33D72910
        ID 17:
        Product Name: 8GB DDR3-1600-MHz RDIMM/PC3-12800/dual rank/1.35v
        PID: UCS-MR-1X082RY-A
        Vendor Description: Samsung Electronics, Inc.
        Vendor Part Number: M393B1K70DH0-YK0
        Vendor Serial (SN): 33D72827
        ID 18:
        Product Name:
        PID:
        Vendor:
        Vendor Description:
        Vendor Part Number:
        Vendor Serial (SN):
        ID 19:
        Product Name: 8GB DDR3-1600-MHz RDIMM/PC3-12800/dual rank/1.35v
        PID: UCS-MR-1X082RY-A
        Vendor Description: Samsung Electronics, Inc.
        Vendor Part Number: M393B1K70DH0-YK0
        Vendor Serial (SN): 83D1F2E2
        ID 20:
        Product Name: 8GB DDR3-1600-MHz RDIMM/PC3-12800/dual rank/1.35v
        PID: UCS-MR-1X082RY-A
        Vendor Description: Samsung Electronics, Inc.
        Vendor Part Number: M393B1K70DH0-YK0
        Vendor Serial (SN): 83D1F3A1
        ID 21:
        Product Name:
        PID:
        Vendor:
        Vendor Description:
        Vendor Part Number:
        Vendor Serial (SN):
        ID 22:
        Product Name: 8GB DDR3-1600-MHz RDIMM/PC3-12800/dual rank/1.35v
        PID: UCS-MR-1X082RY-A
        Vendor Description: Samsung Electronics, Inc.
        Vendor Part Number: M393B1K70DH0-YK0
        Vendor Serial (SN): 83D1F2DE
        ID 23:
        Product Name: 8GB DDR3-1600-MHz RDIMM/PC3-12800/dual rank/1.35v
        PID: UCS-MR-1X082RY-A
        Vendor Description: Samsung Electronics, Inc.
        Vendor Part Number: M393B1K70DH0-YK0
        Vendor Serial (SN): 83D1F3A2
        ID 24:
        Product Name:
        PID:
        Vendor:
        Vendor Description:
        Vendor Part Number:
        Vendor Serial (SN):
        CPUs:
        ID: 1
        Product Name: Intel(R) Xeon(R) E5-2665
        PID: UCS-CPU-E5-2665
        Vendor: Intel(R) Corporation
        ID: 2
        Product Name: Intel(R) Xeon(R) E5-2665
        PID: UCS-CPU-E5-2665
        Vendor: Intel(R) Corporation
        RAID Controller 1:
        Vendor: LSI Logic Symbios Logic
        Model: LSI MegaRAID SAS 2004 ROMB
        Serial: LSIROMB-0
        Raid Support: RAID0, RAID1
        Sub OEM ID: 0
        Supported RAID Battery Operations: Enable Learn,Disable Learn,Start Learn Cycle
        Product Name: 300GB 6Gb SAS 10K RPM 2.5 in. HDD/hot plug/drive sled mounted
        PID: A03-D300GA2
        Vendor: SEAGATE
        Model: ST9300605SS
        Vendor Description: Seagate Technology LLC
        Serial: 6XP3JKX60000B249G2FB
        Product Name: 300GB 6Gb SAS 10K RPM 2.5 in. HDD/hot plug/drive sled mounted
        PID: A03-D300GA2
        Vendor: SEAGATE
        Model: ST9300605SS
        Vendor Description: Seagate Technology LLC
        Serial: 6XP3HBPT0000B249G4P1
        Vendor Unique Identifier: 6a4934c6-4024-c000-1800-778205370b0c
    Adapters:
        Product Name: Cisco UCS VIC 1240
        PID: UCSB-MLOM-40G-01
        Vendor: Cisco Systems Inc
        Serial: FCH162071PF
Server 1/4:
    Equipped Product Name: Cisco UCS B200 M3
    Equipped PID: UCSB-B200-M3
    Equipped Vendor: Cisco Systems Inc
    Equipped Serial (SN): FCH16237K52
    Acknowledged Product Name: Cisco UCS B200 M3
    Acknowledged Effective Memory (MB): 131072
        Model: UCSB-B200-M3
        Serial:
        Vendor: Cisco Systems, Inc.
    Motherboard:
        Product Name: Cisco UCS B200 M3
        PID: UCSB-B200-M3
        Vendor: Cisco Systems Inc
        Serial (SN): FCH16237K52
        Product Name:
        PID:
        Vendor:
        Serial (SN):
        ID 1:
        Product Name: 8GB DDR3-1600-MHz RDIMM/PC3-12800/dual rank/1.35v
        PID: UCS-MR-1X082RY-A
        Vendor Description: Samsung Electronics, Inc.
        Vendor Part Number: M393B1K70DH0-YK0
        Vendor Serial (SN): 83D1F41B
        ID 2:
        Product Name: 8GB DDR3-1600-MHz RDIMM/PC3-12800/dual rank/1.35v
        PID: UCS-MR-1X082RY-A
        Vendor Description: Samsung Electronics, Inc.
        Vendor Part Number: M393B1K70DH0-YK0
        Vendor Serial (SN): 83D1F41D
        ID 3:
        Product Name:
        PID:
        Vendor:
        Vendor Description:
        Vendor Part Number:
        Vendor Serial (SN):
        ID 4:
        Product Name: 8GB DDR3-1600-MHz RDIMM/PC3-12800/dual rank/1.35v
        PID: UCS-MR-1X082RY-A
        Vendor Description: Samsung Electronics, Inc.
        Vendor Part Number: M393B1K70DH0-YK0
        Vendor Serial (SN): 85D18DA6
        ID 5:
        Product Name: 8GB DDR3-1600-MHz RDIMM/PC3-12800/dual rank/1.35v
        PID: UCS-MR-1X082RY-A
        Vendor Description: Samsung Electronics, Inc.
        Vendor Part Number: M393B1K70DH0-YK0
        Vendor Serial (SN): 85D18DB4
        ID 6:
        Product Name:
        PID:
        Vendor:
        Vendor Description:
        Vendor Part Number:
        Vendor Serial (SN):
        ID 7:
        Product Name: 8GB DDR3-1600-MHz RDIMM/PC3-12800/dual rank/1.35v
        PID: UCS-MR-1X082RY-A
        Vendor Description: Samsung Electronics, Inc.
        Vendor Part Number: M393B1K70DH0-YK0
        Vendor Serial (SN): 33E436DA
        ID 8:
        Product Name: 8GB DDR3-1600-MHz RDIMM/PC3-12800/dual rank/1.35v
        PID: UCS-MR-1X082RY-A
        Vendor Description: Samsung Electronics, Inc.
        Vendor Part Number: M393B1K70DH0-YK0
        Vendor Serial (SN): 33DF92B0
        ID 9:
        Product Name:
        PID:
        Vendor:
        Vendor Description:
        Vendor Part Number:
        Vendor Serial (SN):
        ID 10:
        Product Name: 8GB DDR3-1600-MHz RDIMM/PC3-12800/dual rank/1.35v
        PID: UCS-MR-1X082RY-A
        Vendor Description: Samsung Electronics, Inc.
        Vendor Part Number: M393B1K70DH0-YK0
        Vendor Serial (SN): 33E4325A
        ID 11:
        Product Name: 8GB DDR3-1600-MHz RDIMM/PC3-12800/dual rank/1.35v
        PID: UCS-MR-1X082RY-A
        Vendor Description: Samsung Electronics, Inc.
        Vendor Part Number: M393B1K70DH0-YK0
        Vendor Serial (SN): 33E436B8
        ID 12:
        Product Name:
        PID:
        Vendor:
        Vendor Description:
        Vendor Part Number:
        Vendor Serial (SN):
        ID 13:
        Product Name: 8GB DDR3-1600-MHz RDIMM/PC3-12800/dual rank/1.35v
        PID: UCS-MR-1X082RY-A
        Vendor Description: Samsung Electronics, Inc.
        Vendor Part Number: M393B1K70DH0-YK0
        Vendor Serial (SN): 33E436BA
        ID 14:
        Product Name: 8GB DDR3-1600-MHz RDIMM/PC3-12800/dual rank/1.35v
        PID: UCS-MR-1X082RY-A
        Vendor Description: Samsung Electronics, Inc.
        Vendor Part Number: M393B1K70DH0-YK0
        Vendor Serial (SN): 33E43725
        ID 15:
        Product Name:
        PID:
        Vendor:
        Vendor Description:
        Vendor Part Number:
        Vendor Serial (SN):
        ID 16:
        Product Name: 8GB DDR3-1600-MHz RDIMM/PC3-12800/dual rank/1.35v
        PID: UCS-MR-1X082RY-A
        Vendor Description: Samsung Electronics, Inc.
        Vendor Part Number: M393B1K70DH0-YK0
        Vendor Serial (SN): 33E42CB6
        ID 17:
        Product Name: 8GB DDR3-1600-MHz RDIMM/PC3-12800/dual rank/1.35v
        PID: UCS-MR-1X082RY-A
        Vendor Description: Samsung Electronics, Inc.
        Vendor Part Number: M393B1K70DH0-YK0
        Vendor Serial (SN): 33CE33C7
        ID 18:
        Product Name:
        PID:
        Vendor:
        Vendor Description:
        Vendor Part Number:
        Vendor Serial (SN):
        ID 19:
        Product Name: 8GB DDR3-1600-MHz RDIMM/PC3-12800/dual rank/1.35v
        PID: UCS-MR-1X082RY-A
        Vendor Description: Samsung Electronics, Inc.
        Vendor Part Number: M393B1K70DH0-YK0
        Vendor Serial (SN): 85D18CAB
        ID 20:
        Product Name: 8GB DDR3-1600-MHz RDIMM/PC3-12800/dual rank/1.35v
        PID: UCS-MR-1X082RY-A
        Vendor Description: Samsung Electronics, Inc.
        Vendor Part Number: M393B1K70DH0-YK0
        Vendor Serial (SN): 85D18FF2
        ID 21:
        Product Name:
        PID:
        Vendor:
        Vendor Description:
        Vendor Part Number:
        Vendor Serial (SN):
        ID 22:
        Product Name: 8GB DDR3-1600-MHz RDIMM/PC3-12800/dual rank/1.35v
        PID: UCS-MR-1X082RY-A
        Vendor Description: Samsung Electronics, Inc.
        Vendor Part Number: M393B1K70DH0-YK0
        Vendor Serial (SN): 85D18CB5
        ID 23:
        Product Name: 8GB DDR3-1600-MHz RDIMM/PC3-12800/dual rank/1.35v
        PID: UCS-MR-1X082RY-A
        Vendor Description: Samsung Electronics, Inc.
        Vendor Part Number: M393B1K70DH0-YK0
        Vendor Serial (SN): 85D18FEF
        ID 24:
        Product Name:
        PID:
        Vendor:
        Vendor Description:
        Vendor Part Number:
        Vendor Serial (SN):
        CPUs:
        ID: 1
        Product Name: Intel(R) Xeon(R) E5-2665
        PID: UCS-CPU-E5-2665
        Vendor: Intel(R) Corporation
        ID: 2
        Product Name: Intel(R) Xeon(R) E5-2665
        PID: UCS-CPU-E5-2665
        Vendor: Intel(R) Corporation
        RAID Controller 1:
        Vendor: LSI Logic Symbios Logic
        Model: LSI MegaRAID SAS 2004 ROMB
        Serial: LSIROMB-0
        Raid Support: RAID0, RAID1
        Sub OEM ID: 0
        Supported RAID Battery Operations: Enable Learn,Disable Learn,Start Learn Cycle
        Product Name: 300GB 6Gb SAS 10K RPM 2.5 in. HDD/hot plug/drive sled mounted
        PID: A03-D300GA2
        Vendor: SEAGATE
        Model: ST9300605SS
        Vendor Description: Seagate Technology LLC
        Serial: 6XP3JL8X0000B249AMNC
        Product Name: 300GB 6Gb SAS 10K RPM 2.5 in. HDD/hot plug/drive sled mounted
        PID: A03-D300GA2
        Vendor: SEAGATE
        Model: ST9300605SS
        Vendor Description: Seagate Technology LLC
        Serial: 6XP3HQA00000B240E9D4
        Vendor Unique Identifier: 6d48cb51-f2db-a000-1800-75c905525ca2
    Adapters:
        Product Name: Cisco UCS VIC 1240
        PID: UCSB-MLOM-40G-01
        Vendor: Cisco Systems Inc
        Serial: FCH162378WZ
Server 1/5:
    Equipped Product Name: Cisco UCS B200 M3
    Equipped PID: UCSB-B200-M3
    Equipped Vendor: Cisco Systems Inc
    Equipped Serial (SN): FCH16207K75
    Acknowledged Product Name: Cisco UCS B200 M3
    Acknowledged Effective Memory (MB): 131072
        Model: UCSB-B200-M3
        Serial:
        Vendor: Cisco Systems, Inc.
    Motherboard:
        Product Name: Cisco UCS B200 M3
        PID: UCSB-B200-M3
        Vendor: Cisco Systems Inc
        Serial (SN): FCH16207K75
        Product Name:
        PID:
        Vendor:
        Serial (SN):
        ID 1:
        Product Name: 8GB DDR3-1600-MHz RDIMM/PC3-12800/dual rank/1.35v
        PID: UCS-MR-1X082RY-A
        Vendor Description: Samsung Electronics, Inc.
        Vendor Part Number: M393B1K70DH0-YK0
        Vendor Serial (SN): 33E43FAB
        ID 2:
        Product Name: 8GB DDR3-1600-MHz RDIMM/PC3-12800/dual rank/1.35v
        PID: UCS-MR-1X082RY-A
        Vendor Description: Samsung Electronics, Inc.
        Vendor Part Number: M393B1K70DH0-YK0
        Vendor Serial (SN): 3360EC6B
        ID 3:
        Product Name:
        PID:
        Vendor:
        Vendor Description:
        Vendor Part Number:
        Vendor Serial (SN):
        ID 4:
        Product Name: 8GB DDR3-1600-MHz RDIMM/PC3-12800/dual rank/1.35v
        PID: UCS-MR-1X082RY-A
        Vendor Description: Samsung Electronics, Inc.
        Vendor Part Number: M393B1K70DH0-YK0
        Vendor Serial (SN): 33E498CB
        ID 5:
        Product Name: 8GB DDR3-1600-MHz RDIMM/PC3-12800/dual rank/1.35v
        PID: UCS-MR-1X082RY-A
        Vendor Description: Samsung Electronics, Inc.
        Vendor Part Number: M393B1K70DH0-YK0
        Vendor Serial (SN): 335BA195
        ID 6:
        Product Name:
        PID:
        Vendor:
        Vendor Description:
        Vendor Part Number:
        Vendor Serial (SN):
        ID 7:
        Product Name: 8GB DDR3-1600-MHz RDIMM/PC3-12800/dual rank/1.35v
        PID: UCS-MR-1X082RY-A
        Vendor Description: Samsung Electronics, Inc.
        Vendor Part Number: M393B1K70DH0-YK0
        Vendor Serial (SN): 33E446D9
        ID 8:
        Product Name: 8GB DDR3-1600-MHz RDIMM/PC3-12800/dual rank/1.35v
        PID: UCS-MR-1X082RY-A
        Vendor Description: Samsung Electronics, Inc.
        Vendor Part Number: M393B1K70DH0-YK0
        Vendor Serial (SN): 33E42FAF
        ID 9:
        Product Name:
        PID:
        Vendor:
        Vendor Description:
        Vendor Part Number:
        Vendor Serial (SN):
        ID 10:
        Product Name: 8GB DDR3-1600-MHz RDIMM/PC3-12800/dual rank/1.35v
        PID: UCS-MR-1X082RY-A
        Vendor Description: Samsung Electronics, Inc.
        Vendor Part Number: M393B1K70DH0-YK0
        Vendor Serial (SN): 86C882D8
        ID 11:
        Product Name: 8GB DDR3-1600-MHz RDIMM/PC3-12800/dual rank/1.35v
        PID: UCS-MR-1X082RY-A
        Vendor Description: Samsung Electronics, Inc.
        Vendor Part Number: M393B1K70DH0-YK0
        Vendor Serial (SN): 86C882FB
        ID 12:
        Product Name:
        PID:
        Vendor:
        Vendor Description:
        Vendor Part Number:
        Vendor Serial (SN):
        ID 13:
        Product Name: 8GB DDR3-1600-MHz RDIMM/PC3-12800/dual rank/1.35v
        PID: UCS-MR-1X082RY-A
        Vendor Description: Samsung Electronics, Inc.
        Vendor Part Number: M393B1K70DH0-YK0
        Vendor Serial (SN): 335BA021
        ID 14:
        Product Name: 8GB DDR3-1600-MHz RDIMM/PC3-12800/dual rank/1.35v
        PID: UCS-MR-1X082RY-A
        Vendor Description: Samsung Electronics, Inc.
        Vendor Part Number: M393B1K70DH0-YK0
        Vendor Serial (SN): 3360105F
        ID 15:
        Product Name:
        PID:
        Vendor:
        Vendor Description:
        Vendor Part Number:
        Vendor Serial (SN):
        ID 16:
        Product Name: 8GB DDR3-1600-MHz RDIMM/PC3-12800/dual rank/1.35v
        PID: UCS-MR-1X082RY-A
        Vendor Description: Samsung Electronics, Inc.
        Vendor Part Number: M393B1K70DH0-YK0
        Vendor Serial (SN): 33601951
        ID 17:
        Product Name: 8GB DDR3-1600-MHz RDIMM/PC3-12800/dual rank/1.35v
        PID: UCS-MR-1X082RY-A
        Vendor Description: Samsung Electronics, Inc.
        Vendor Part Number: M393B1K70DH0-YK0
        Vendor Serial (SN): 33E42EE0
        ID 18:
        Product Name:
        PID:
        Vendor:
        Vendor Description:
        Vendor Part Number:
        Vendor Serial (SN):
        ID 19:
        Product Name: 8GB DDR3-1600-MHz RDIMM/PC3-12800/dual rank/1.35v
        PID: UCS-MR-1X082RY-A
        Vendor Description: Samsung Electronics, Inc.
        Vendor Part Number: M393B1K70DH0-YK0
        Vendor Serial (SN): 33E49828
        ID 20:
        Product Name: 8GB DDR3-1600-MHz RDIMM/PC3-12800/dual rank/1.35v
        PID: UCS-MR-1X082RY-A
        Vendor Description: Samsung Electronics, Inc.
        Vendor Part Number: M393B1K70DH0-YK0
        Vendor Serial (SN): 33E49BDF
        ID 21:
        Product Name:
        PID:
        Vendor:
        Vendor Description:
        Vendor Part Number:
        Vendor Serial (SN):
        ID 22:
        Product Name: 8GB DDR3-1600-MHz RDIMM/PC3-12800/dual rank/1.35v
        PID: UCS-MR-1X082RY-A
        Vendor Description: Samsung Electronics, Inc.
        Vendor Part Number: M393B1K70DH0-YK0
        Vendor Serial (SN): 33E49BAD
        ID 23:
        Product Name: 8GB DDR3-1600-MHz RDIMM/PC3-12800/dual rank/1.35v
        PID: UCS-MR-1X082RY-A
        Vendor Description: Samsung Electronics, Inc.
        Vendor Part Number: M393B1K70DH0-YK0
        Vendor Serial (SN): 33D5A14A
        ID 24:
        Product Name:
        PID:
        Vendor:
        Vendor Description:
        Vendor Part Number:
        Vendor Serial (SN):
        CPUs:
        ID: 1
        Product Name: Intel(R) Xeon(R) E5-2665
        PID: UCS-CPU-E5-2665
        Vendor: Intel(R) Corporation
        ID: 2
        Product Name: Intel(R) Xeon(R) E5-2665
        PID: UCS-CPU-E5-2665
        Vendor: Intel(R) Corporation
        RAID Controller 1:
        Vendor: LSI Logic Symbios Logic
        Model: LSI MegaRAID SAS 2004 ROMB
        Serial: LSIROMB-0
        Raid Support: RAID0, RAID1
        Sub OEM ID: 0
        Supported RAID Battery Operations: Enable Learn,Disable Learn,Start Learn Cycle
        Product Name: 300GB 6Gb SAS 10K RPM 2.5 in. HDD/hot plug/drive sled mounted
        PID: A03-D300GA2
        Vendor: SEAGATE
        Model: ST9300605SS
        Vendor Description: Seagate Technology LLC
        Serial: 6XP3HCQ40000M247X1H3
        Product Name: 300GB 6Gb SAS 10K RPM 2.5 in. HDD/hot plug/drive sled mounted
        PID: A03-D300GA2
        Vendor: SEAGATE
        Model: ST9300605SS
        Vendor Description: Seagate Technology LLC
        Serial: 6XP3HCP90000M248GLL0
        Vendor Unique Identifier: 6d867d99-9226-0000-17fe-fc990562167a
    Adapters:
        Product Name: Cisco UCS VIC 1240
        PID: UCSB-MLOM-40G-01
        Vendor: Cisco Systems Inc
        Serial: FCH16217XK7
Server 1/6:
    Equipped Product Name: Cisco UCS B200 M3
    Equipped PID: UCSB-B200-M3
    Equipped Vendor: Cisco Systems Inc
    Equipped Serial (SN): FCH16237DZ3
    Acknowledged Product Name: Cisco UCS B200 M3
    Acknowledged Effective Memory (MB): 131072
        Model: UCSB-B200-M3
        Serial:
        Vendor: Cisco Systems, Inc.
    Motherboard:
        Product Name: Cisco UCS B200 M3
        PID: UCSB-B200-M3
        Vendor: Cisco Systems Inc
        Serial (SN): FCH16237DZ3
        Product Name:
        PID:
        Vendor:
        Serial (SN):
        ID 1:
        Product Name: 8GB DDR3-1600-MHz RDIMM/PC3-12800/dual rank/1.35v
        PID: UCS-MR-1X082RY-A
        Vendor Description: Samsung Electronics, Inc.
        Vendor Part Number: M393B1K70DH0-YK0
        Vendor Serial (SN): 33D70FBB
        ID 2:
        Product Name: 8GB DDR3-1600-MHz RDIMM/PC3-12800/dual rank/1.35v
        PID: UCS-MR-1X082RY-A
        Vendor Description: Samsung Electronics, Inc.
        Vendor Part Number: M393B1K70DH0-YK0
        Vendor Serial (SN): 33D72A5E
        ID 3:
        Product Name:
        PID:
        Vendor:
        Vendor Description:
        Vendor Part Number:
        Vendor Serial (SN):
        ID 4:
        Product Name: 8GB DDR3-1600-MHz RDIMM/PC3-12800/dual rank/1.35v
        PID: UCS-MR-1X082RY-A
        Vendor Description: Samsung Electronics, Inc.
        Vendor Part Number: M393B1K70DH0-YK0
        Vendor Serial (SN): 33D72985
        ID 5:
        Product Name: 8GB DDR3-1600-MHz RDIMM/PC3-12800/dual rank/1.35v
        PID: UCS-MR-1X082RY-A
        Vendor Description: Samsung Electronics, Inc.
        Vendor Part Number: M393B1K70DH0-YK0
        Vendor Serial (SN): 33D728A8
        ID 6:
        Product Name:
        PID:
        Vendor:
        Vendor Description:
        Vendor Part Number:
        Vendor Serial (SN):
        ID 7:
        Product Name: 8GB DDR3-1600-MHz RDIMM/PC3-12800/dual rank/1.35v
        PID: UCS-MR-1X082RY-A
        Vendor Description: Samsung Electronics, Inc.
        Vendor Part Number: M393B1K70DH0-YK0
        Vendor Serial (SN): 33D7297E
        ID 8:
        Product Name: 8GB DDR3-1600-MHz RDIMM/PC3-12800/dual rank/1.35v
        PID: UCS-MR-1X082RY-A
        Vendor Description: Samsung Electronics, Inc.
        Vendor Part Number: M393B1K70DH0-YK0
        Vendor Serial (SN): 33D72915
        ID 9:
        Product Name:
        PID:
        Vendor:
        Vendor Description:
        Vendor Part Number:
        Vendor Serial (SN):
        ID 10:
        Product Name: 8GB DDR3-1600-MHz RDIMM/PC3-12800/dual rank/1.35v
        PID: UCS-MR-1X082RY-A
        Vendor Description: Samsung Electronics, Inc.
        Vendor Part Number: M393B1K70DH0-YK0
        Vendor Serial (SN): 33D728A6
        ID 11:
        Product Name: 8GB DDR3-1600-MHz RDIMM/PC3-12800/dual rank/1.35v
        PID: UCS-MR-1X082RY-A
        Vendor Description: Samsung Electronics, Inc.
        Vendor Part Number: M393B1K70DH0-YK0
        Vendor Serial (SN): 33D728A5
        ID 12:
        Product Name:
        PID:
        Vendor:
        Vendor Description:
        Vendor Part Number:
        Vendor Serial (SN):
        ID 13:
        Product Name: 8GB DDR3-1600-MHz RDIMM/PC3-12800/dual rank/1.35v
        PID: UCS-MR-1X082RY-A
        Vendor Description: Samsung Electronics, Inc.
        Vendor Part Number: M393B1K70DH0-YK0
        Vendor Serial (SN): 33D72914
        ID 14:
        Product Name: 8GB DDR3-1600-MHz RDIMM/PC3-12800/dual rank/1.35v
        PID: UCS-MR-1X082RY-A
        Vendor Description: Samsung Electronics, Inc.
        Vendor Part Number: M393B1K70DH0-YK0
        Vendor Serial (SN): 33D7286F
        ID 15:
        Product Name:
        PID:
        Vendor:
        Vendor Description:
        Vendor Part Number:
        Vendor Serial (SN):
        ID 16:
        Product Name: 8GB DDR3-1600-MHz RDIMM/PC3-12800/dual rank/1.35v
        PID: UCS-MR-1X082RY-A
        Vendor Description: Samsung Electronics, Inc.
        Vendor Part Number: M393B1K70DH0-YK0
        Vendor Serial (SN): 33D72986
        ID 17:
        Product Name: 8GB DDR3-1600-MHz RDIMM/PC3-12800/dual rank/1.35v
        PID: UCS-MR-1X082RY-A
        Vendor Description: Samsung Electronics, Inc.
        Vendor Part Number: M393B1K70DH0-YK0
        Vendor Serial (SN): 33D72A5F
        ID 18:
        Product Name:
        PID:
        Vendor:
        Vendor Description:
        Vendor Part Number:
        Vendor Serial (SN):
        ID 19:
        Product Name: 8GB DDR3-1600-MHz RDIMM/PC3-12800/dual rank/1.35v
        PID: UCS-MR-1X082RY-A
        Vendor Description: Samsung Electronics, Inc.
        Vendor Part Number: M393B1K70DH0-YK0
        Vendor Serial (SN): 33D72916
        ID 20:
        Product Name: 8GB DDR3-1600-MHz RDIMM/PC3-12800/dual rank/1.35v
        PID: UCS-MR-1X082RY-A
        Vendor Description: Samsung Electronics, Inc.
        Vendor Part Number: M393B1K70DH0-YK0
        Vendor Serial (SN): 33D728A3
        ID 21:
        Product Name:
        PID:
        Vendor:
        Vendor Description:
        Vendor Part Number:
        Vendor Serial (SN):
        ID 22:
        Product Name: 8GB DDR3-1600-MHz RDIMM/PC3-12800/dual rank/1.35v
        PID: UCS-MR-1X082RY-A
        Vendor Description: Samsung Electronics, Inc.
        Vendor Part Number: M393B1K70DH0-YK0
        Vendor Serial (SN): 33D728A7
        ID 23:
        Product Name: 8GB DDR3-1600-MHz RDIMM/PC3-12800/dual rank/1.35v
        PID: UCS-MR-1X082RY-A
        Vendor Description: Samsung Electronics, Inc.
        Vendor Part Number: M393B1K70DH0-YK0
        Vendor Serial (SN): 33D728AA
        ID 24:
        Product Name:
        PID:
        Vendor:
        Vendor Description:
        Vendor Part Number:
        Vendor Serial (SN):
        CPUs:
        ID: 1
        Product Name: Intel(R) Xeon(R) E5-2665
        PID: UCS-CPU-E5-2665
        Vendor: Intel(R) Corporation
        ID: 2
        Product Name: Intel(R) Xeon(R) E5-2665
        PID: UCS-CPU-E5-2665
        Vendor: Intel(R) Corporation
        RAID Controller 1:
        Vendor: LSI Logic Symbios Logic
        Model: LSI MegaRAID SAS 2004 ROMB
        Serial: LSIROMB-0
        Raid Support: RAID0, RAID1
        Sub OEM ID: 0
        Supported RAID Battery Operations: Enable Learn,Disable Learn,Start Learn Cycle
        Product Name: 300GB 6Gb SAS 10K RPM 2.5 in. HDD/hot plug/drive sled mounted
        PID: A03-D300GA2
        Vendor: SEAGATE
        Model: ST9300605SS
        Vendor Description: Seagate Technology LLC
        Serial: 6XP3JLN60000B249EE63
        Product Name: 300GB 6Gb SAS 10K RPM 2.5 in. HDD/hot plug/drive sled mounted
        PID: A03-D300GA2
        Vendor: SEAGATE
        Model: ST9300605SS
        Vendor Description: Seagate Technology LLC
        Serial: 6XP3HA9R0000M2389EWH
        Vendor Unique Identifier: 6d867d9d-3456-4000-17fe-fc9b0564614d
    Adapters:
        Product Name: Cisco UCS VIC 1240
        PID: UCSB-MLOM-40G-01
        Vendor: Cisco Systems Inc
        Serial: FCH16217GSG
Server 1/7:
    Equipped Product Name: Cisco UCS B200 M3
    Equipped PID: UCSB-B200-M3
    Equipped Vendor: Cisco Systems Inc
    Equipped Serial (SN): FCH2020JAGL
    Acknowledged Product Name: Cisco UCS B200 M3
    Acknowledged Effective Memory (MB): 262144
        Model: UCSB-B200-M3
        Serial:
        Vendor: Cisco Systems, Inc.
    Motherboard:
        Product Name: Cisco UCS B200 M3
        PID: UCSB-B200-M3
        Vendor: Cisco Systems Inc
        Serial (SN): FCH2020JAGL
        Product Name:
        PID:
        Vendor:
        Serial (SN):
        ID 1:
        Product Name: 16GB DDR3-1866MHz RDIMM/PC3-14900/dual rank/1.5V
        PID: UCS-MR-1X162RZ-A
        Vendor Description: Samsung
        Vendor Part Number: M393B2G70DB0-CMA
        Vendor Serial (SN): 38807463
        ID 2:
        Product Name: 16GB DDR3-1866MHz RDIMM/PC3-14900/dual rank/1.5V
        PID: UCS-MR-1X162RZ-A
        Vendor Description: Samsung
        Vendor Part Number: M393B2G70DB0-CMA
        Vendor Serial (SN): 388072D3
        ID 3:
        Product Name:
        PID:
        Vendor:
        Vendor Description:
        Vendor Part Number:
        Vendor Serial (SN):
        ID 4:
        Product Name: 16GB DDR3-1866MHz RDIMM/PC3-14900/dual rank/1.5V
        PID: UCS-MR-1X162RZ-A
        Vendor Description: Samsung
        Vendor Part Number: M393B2G70DB0-CMA
        Vendor Serial (SN): 388073EF
        ID 5:
        Product Name: 16GB DDR3-1866MHz RDIMM/PC3-14900/dual rank/1.5V
        PID: UCS-MR-1X162RZ-A
        Vendor Description: Samsung
        Vendor Part Number: M393B2G70DB0-CMA
        Vendor Serial (SN): 38807334
        ID 6:
        Product Name:
        PID:
        Vendor:
        Vendor Description:
        Vendor Part Number:
        Vendor Serial (SN):
        ID 7:
        Product Name: 16GB DDR3-1866-MHz RDIMM/PC3-14900/dual rank/x4/1.5v
        PID: UCS-MR-1X162RZ-A
        Vendor Description: Samsung
        Vendor Part Number: M393B2G70EB0-CMA
        Vendor Serial (SN): 02C83978
        ID 8:
        Product Name: 16GB DDR3-1866-MHz RDIMM/PC3-14900/dual rank/x4/1.5v
        PID: UCS-MR-1X162RZ-A
        Vendor Description: Samsung
        Vendor Part Number: M393B2G70EB0-CMA
        Vendor Serial (SN): 02C61005
        ID 9:
        Product Name:
        PID:
        Vendor:
        Vendor Description:
        Vendor Part Number:
        Vendor Serial (SN):
        ID 10:
        Product Name: 16GB DDR3-1866-MHz RDIMM/PC3-14900/dual rank/x4/1.5v
        PID: UCS-MR-1X162RZ-A
        Vendor Description: Samsung
        Vendor Part Number: M393B2G70EB0-CMA
        Vendor Serial (SN): 02C9B40B
        ID 11:
        Product Name: 16GB DDR3-1866-MHz RDIMM/PC3-14900/dual rank/x4/1.5v
        PID: UCS-MR-1X162RZ-A
        Vendor Description: Samsung
        Vendor Part Number: M393B2G70EB0-CMA
        Vendor Serial (SN): 02C86EA5
        ID 12:
        Product Name:
        PID:
        Vendor:
        Vendor Description:
        Vendor Part Number:
        Vendor Serial (SN):
        ID 13:
        Product Name: 16GB DDR3-1866MHz RDIMM/PC3-14900/dual rank/1.5V
        PID: UCS-MR-1X162RZ-A
        Vendor Description: Samsung
        Vendor Part Number: M393B2G70DB0-CMA
        Vendor Serial (SN): 38807378
        ID 14:
        Product Name: 16GB DDR3-1866MHz RDIMM/PC3-14900/dual rank/1.5V
        PID: UCS-MR-1X162RZ-A
        Vendor Description: Samsung
        Vendor Part Number: M393B2G70DB0-CMA
        Vendor Serial (SN): 3880749D
        ID 15:
        Product Name:
        PID:
        Vendor:
        Vendor Description:
        Vendor Part Number:
        Vendor Serial (SN):
        ID 16:
        Product Name: 16GB DDR3-1866MHz RDIMM/PC3-14900/dual rank/1.5V
        PID: UCS-MR-1X162RZ-A
        Vendor Description: Samsung
        Vendor Part Number: M393B2G70DB0-CMA
        Vendor Serial (SN): 388072D4
        ID 17:
        Product Name: 16GB DDR3-1866MHz RDIMM/PC3-14900/dual rank/1.5V
        PID: UCS-MR-1X162RZ-A
        Vendor Description: Samsung
        Vendor Part Number: M393B2G70DB0-CMA
        Vendor Serial (SN): 38807462
        ID 18:
        Product Name:
        PID:
        Vendor:
        Vendor Description:
        Vendor Part Number:
        Vendor Serial (SN):
        ID 19:
        Product Name: 16GB DDR3-1866MHz RDIMM/PC3-14900/dual rank/1.5V
        PID: UCS-MR-1X162RZ-A
        Vendor Description: Samsung
        Vendor Part Number: M393B2G70DB0-CMA
        Vendor Serial (SN): 38807461
        ID 20:
        Product Name: 16GB DDR3-1866MHz RDIMM/PC3-14900/dual rank/1.5V
        PID: UCS-MR-1X162RZ-A
        Vendor Description: Samsung
        Vendor Part Number: M393B2G70DB0-CMA
        Vendor Serial (SN): 388072D0
        ID 21:
        Product Name:
        PID:
        Vendor:
        Vendor Description:
        Vendor Part Number:
        Vendor Serial (SN):
        ID 22:
        Product Name: 16GB DDR3-1866MHz RDIMM/PC3-14900/dual rank/1.5V
        PID: UCS-MR-1X162RZ-A
        Vendor Description: Samsung
        Vendor Part Number: M393B2G70DB0-CMA
        Vendor Serial (SN): 388074A1
        ID 23:
        Product Name: 16GB DDR3-1866MHz RDIMM/PC3-14900/dual rank/1.5V
        PID: UCS-MR-1X162RZ-A
        Vendor Description: Samsung
        Vendor Part Number: M393B2G70DB0-CMA
        Vendor Serial (SN): 38807379
        ID 24:
        Product Name:
        PID:
        Vendor:
        Vendor Description:
        Vendor Part Number:
        Vendor Serial (SN):
        CPUs:
        ID: 1
        Product Name: Intel(R) Xeon(R) E5-2680 v2
        PID: UCS-CPU-E52680B
        Vendor: Intel(R) Corporation
        ID: 2
        Product Name: Intel(R) Xeon(R) E5-2680 v2
        PID: UCS-CPU-E52680B
        Vendor: Intel(R) Corporation
        RAID Controller 1:
        Vendor: LSI Logic Symbios Logic
        Model: LSI MegaRAID SAS 2004 ROMB
        Serial: LSIROMB-0
        Raid Support: RAID0, RAID1
        Sub OEM ID: 0
        Supported RAID Battery Operations: Enable Learn,Disable Learn,Start Learn Cycle
        Product Name: 100GB Read SATA SSD hot plug || 7mm drive sled/15mm drive sled
        PID: UCS-SD100G0KA2-G/UCS-SD100G0KA2-S
        Vendor: ATA
        Model: Micron_P400e-MTFDDAK100MAR
        Vendor Description: Micron - 2C00
        Serial: 14150C11FF82
        Product Name:
        PID:
        Vendor:
        Model:
        Vendor Description:
        Serial:
    Adapters:
        Product Name: Cisco UCS VIC 1240
        PID: UCSB-MLOM-40G-01
        Vendor: Cisco Systems Inc
        Serial: FCH1828KU5F
Server 1/8:
    Equipped Product Name:
    Equipped PID:
    Equipped Vendor:
    Equipped Serial (SN):
    Acknowledged Product Name:
    Acknowledged Effective Memory (MB):
Server 2/1:
    Equipped Product Name: Cisco UCS B420 M3
    Equipped PID: UCSB-B420-M3
    Equipped Vendor: Cisco Systems Inc
    Equipped Serial (SN): FCH16447HBG
    Acknowledged Product Name: Cisco UCS B420 M3
    Acknowledged Effective Memory (MB): 262144
        Model: UCSB-B420-M3
        Serial:
        Vendor: Cisco Systems, Inc.
        Model: UCSX-TPM1-001
        Vendor: Cisco Systems Inc
        Serial: FCH1616778L
    Motherboard:
        Product Name: Cisco UCS B420 M3
        PID: UCSB-B420-M3
        Vendor: Cisco Systems Inc
        Serial (SN): FCH16447HBG
        Product Name:
        PID:
        Vendor:
        Serial (SN):
        ID 1:
        Product Name: 8GB DDR3-1600-MHz RDIMM/PC3-12800/dual rank/1.35v
        PID: UCS-MR-1X082RY-A
        Vendor Description: Samsung Electronics, Inc.
        Vendor Part Number: M393B1K70DH0-YK0
        Vendor Serial (SN): 138EFACA
        ID 2:
        Product Name: 8GB DDR3-1600-MHz RDIMM/PC3-12800/dual rank/1.35v
        PID: UCS-MR-1X082RY-A
        Vendor Description: Samsung Electronics, Inc.
        Vendor Part Number: M393B1K70DH0-YK0
        Vendor Serial (SN): 138EFB0B
        ID 3:
        Product Name:
        PID:
        Vendor:
        Vendor Description:
        Vendor Part Number:
        Vendor Serial (SN):
        ID 4:
        Product Name: 8GB DDR3-1600-MHz RDIMM/PC3-12800/dual rank/1.35v
        PID: UCS-MR-1X082RY-A
        Vendor Description: Samsung Electronics, Inc.
        Vendor Part Number: M393B1K70DH0-YK0
        Vendor Serial (SN): 138EFB04
        ID 5:
        Product Name: 8GB DDR3-1600-MHz RDIMM/PC3-12800/dual rank/1.35v
        PID: UCS-MR-1X082RY-A
        Vendor Description: Samsung Electronics, Inc.
        Vendor Part Number: M393B1K70DH0-YK0
        Vendor Serial (SN): 138EFB45
        ID 6:
        Product Name:
        PID:
        Vendor:
        Vendor Description:
        Vendor Part Number:
        Vendor Serial (SN):
        ID 7:
        Product Name: 8GB DDR3-1600-MHz RDIMM/PC3-12800/dual rank/1.35v
        PID: UCS-MR-1X082RY-A
        Vendor Description: Samsung Electronics, Inc.
        Vendor Part Number: M393B1K70DH0-YK0
        Vendor Serial (SN): 138EFB44
        ID 8:
        Product Name: 8GB DDR3-1600-MHz RDIMM/PC3-12800/dual rank/1.35v
        PID: UCS-MR-1X082RY-A
        Vendor Description: Samsung Electronics, Inc.
        Vendor Part Number: M393B1K70DH0-YK0
        Vendor Serial (SN): 138EFB01
        ID 9:
        Product Name:
        PID:
        Vendor:
        Vendor Description:
        Vendor Part Number:
        Vendor Serial (SN):
        ID 10:
        Product Name: 8GB DDR3-1600-MHz RDIMM/PC3-12800/dual rank/1.35v
        PID: UCS-MR-1X082RY-A
        Vendor Description: Samsung Electronics, Inc.
        Vendor Part Number: M393B1K70DH0-YK0
        Vendor Serial (SN): 138EFAFB
        ID 11:
        Product Name: 8GB DDR3-1600-MHz RDIMM/PC3-12800/dual rank/1.35v
        PID: UCS-MR-1X082RY-A
        Vendor Description: Samsung Electronics, Inc.
        Vendor Part Number: M393B1K70DH0-YK0
        Vendor Serial (SN): 138EFAF8
        ID 12:
        Product Name:
        PID:
        Vendor:
        Vendor Description:
        Vendor Part Number:
        Vendor Serial (SN):
        ID 13:
        Product Name: 8GB DDR3-1600-MHz RDIMM/PC3-12800/dual rank/1.35v
        PID: UCS-MR-1X082RY-A
        Vendor Description: Samsung Electronics, Inc.
        Vendor Part Number: M393B1K70DH0-YK0
        Vendor Serial (SN): 138EFB2E
        ID 14:
        Product Name: 8GB DDR3-1600-MHz RDIMM/PC3-12800/dual rank/1.35v
        PID: UCS-MR-1X082RY-A
        Vendor Description: Samsung Electronics, Inc.
        Vendor Part Number: M393B1K70DH0-YK0
        Vendor Serial (SN): 138EFAD0
        ID 15:
        Product Name:
        PID:
        Vendor:
        Vendor Description:
        Vendor Part Number:
        Vendor Serial (SN):
        ID 16:
        Product Name: 8GB DDR3-1600-MHz RDIMM/PC3-12800/dual rank/1.35v
        PID: UCS-MR-1X082RY-A
        Vendor Description: Samsung Electronics, Inc.
        Vendor Part Number: M393B1K70DH0-YK0
        Vendor Serial (SN): 138EFB25
        ID 17:
        Product Name: 8GB DDR3-1600-MHz RDIMM/PC3-12800/dual rank/1.35v
        PID: UCS-MR-1X082RY-A
        Vendor Description: Samsung Electronics, Inc.
        Vendor Part Number: M393B1K70DH0-YK0
        Vendor Serial (SN): 138EFAF0
        ID 18:
        Product Name:
        PID:
        Vendor:
        Vendor Description:
        Vendor Part Number:
        Vendor Serial (SN):
        ID 19:
        Product Name: 8GB DDR3-1600-MHz RDIMM/PC3-12800/dual rank/1.35v
        PID: UCS-MR-1X082RY-A
        Vendor Description: Samsung Electronics, Inc.
        Vendor Part Number: M393B1K70DH0-YK0
        Vendor Serial (SN): 138EFB0C
        ID 20:
        Product Name: 8GB DDR3-1600-MHz RDIMM/PC3-12800/dual rank/1.35v
        PID: UCS-MR-1X082RY-A
        Vendor Description: Samsung Electronics, Inc.
        Vendor Part Number: M393B1K70DH0-YK0
        Vendor Serial (SN): 138EFAC9
        ID 21:
        Product Name:
        PID:
        Vendor:
        Vendor Description:
        Vendor Part Number:
        Vendor Serial (SN):
        ID 22:
        Product Name: 8GB DDR3-1600-MHz RDIMM/PC3-12800/dual rank/1.35v
        PID: UCS-MR-1X082RY-A
        Vendor Description: Samsung Electronics, Inc.
        Vendor Part Number: M393B1K70DH0-YK0
        Vendor Serial (SN): 138EFB11
        ID 23:
        Product Name: 8GB DDR3-1600-MHz RDIMM/PC3-12800/dual rank/1.35v
        PID: UCS-MR-1X082RY-A
        Vendor Description: Samsung Electronics, Inc.
        Vendor Part Number: M393B1K70DH0-YK0
        Vendor Serial (SN): 138EFAC5
        ID 24:
        Product Name:
        PID:
        Vendor:
        Vendor Description:
        Vendor Part Number:
        Vendor Serial (SN):
        ID 25:
        Product Name: 8GB DDR3-1600-MHz RDIMM/PC3-12800/dual rank/1.35v
        PID: UCS-MR-1X082RY-A
        Vendor Description: Samsung Electronics, Inc.
        Vendor Part Number: M393B1K70DH0-YK0
        Vendor Serial (SN): 128EE701
        ID 26:
        Product Name: 8GB DDR3-1600-MHz RDIMM/PC3-12800/dual rank/1.35v
        PID: UCS-MR-1X082RY-A
        Vendor Description: Samsung Electronics, Inc.
        Vendor Part Number: M393B1K70DH0-YK0
        Vendor Serial (SN): 138EFB42
        ID 27:
        Product Name:
        PID:
        Vendor:
        Vendor Description:
        Vendor Part Number:
        Vendor Serial (SN):
        ID 28:
        Product Name: 8GB DDR3-1600-MHz RDIMM/PC3-12800/dual rank/1.35v
        PID: UCS-MR-1X082RY-A
        Vendor Description: Samsung Electronics, Inc.
        Vendor Part Number: M393B1K70DH0-YK0
        Vendor Serial (SN): 138EFAC7
        ID 29:
        Product Name: 8GB DDR3-1600-MHz RDIMM/PC3-12800/dual rank/1.35v
        PID: UCS-MR-1X082RY-A
        Vendor Description: Samsung Electronics, Inc.
        Vendor Part Number: M393B1K70DH0-YK0
        Vendor Serial (SN): 138EFB21
        ID 30:
        Product Name:
        PID:
        Vendor:
        Vendor Description:
        Vendor Part Number:
        Vendor Serial (SN):
        ID 31:
        Product Name: 8GB DDR3-1600-MHz RDIMM/PC3-12800/dual rank/1.35v
        PID: UCS-MR-1X082RY-A
        Vendor Description: Samsung Electronics, Inc.
        Vendor Part Number: M393B1K70DH0-YK0
        Vendor Serial (SN): 138EFB3F
        ID 32:
        Product Name: 8GB DDR3-1600-MHz RDIMM/PC3-12800/dual rank/1.35v
        PID: UCS-MR-1X082RY-A
        Vendor Description: Samsung Electronics, Inc.
        Vendor Part Number: M393B1K70DH0-YK0
        Vendor Serial (SN): 138EFAD1
        ID 33:
        Product Name:
        PID:
        Vendor:
        Vendor Description:
        Vendor Part Number:
        Vendor Serial (SN):
        ID 34:
        Product Name: 8GB DDR3-1600-MHz RDIMM/PC3-12800/dual rank/1.35v
        PID: UCS-MR-1X082RY-A
        Vendor Description: Samsung Electronics, Inc.
        Vendor Part Number: M393B1K70DH0-YK0
        Vendor Serial (SN): 138EFB1E
        ID 35:
        Product Name: 8GB DDR3-1600-MHz RDIMM/PC3-12800/dual rank/1.35v
        PID: UCS-MR-1X082RY-A
        Vendor Description: Samsung Electronics, Inc.
        Vendor Part Number: M393B1K70DH0-YK0
        Vendor Serial (SN): 138EFB16
        ID 36:
        Product Name:
        PID:
        Vendor:
        Vendor Description:
        Vendor Part Number:
        Vendor Serial (SN):
        ID 37:
        Product Name: 8GB DDR3-1600-MHz RDIMM/PC3-12800/dual rank/1.35v
        PID: UCS-MR-1X082RY-A
        Vendor Description: Samsung Electronics, Inc.
        Vendor Part Number: M393B1K70DH0-YK0
        Vendor Serial (SN): 138EFAF5
        ID 38:
        Product Name: 8GB DDR3-1600-MHz RDIMM/PC3-12800/dual rank/1.35v
        PID: UCS-MR-1X082RY-A
        Vendor Description: Samsung Electronics, Inc.
        Vendor Part Number: M393B1K70DH0-YK0
        Vendor Serial (SN): 138EFB33
        ID 39:
        Product Name:
        PID:
        Vendor:
        Vendor Description:
        Vendor Part Number:
        Vendor Serial (SN):
        ID 40:
        Product Name: 8GB DDR3-1600-MHz RDIMM/PC3-12800/dual rank/1.35v
        PID: UCS-MR-1X082RY-A
        Vendor Description: Samsung Electronics, Inc.
        Vendor Part Number: M393B1K70DH0-YK0
        Vendor Serial (SN): 128EE72D
        ID 41:
        Product Name: 8GB DDR3-1600-MHz RDIMM/PC3-12800/dual rank/1.35v
        PID: UCS-MR-1X082RY-A
        Vendor Description: Samsung Electronics, Inc.
        Vendor Part Number: M393B1K70DH0-YK0
        Vendor Serial (SN): 128EE70B
        ID 42:
        Product Name:
        PID:
        Vendor:
        Vendor Description:
        Vendor Part Number:
        Vendor Serial (SN):
        ID 43:
        Product Name: 8GB DDR3-1600-MHz RDIMM/PC3-12800/dual rank/1.35v
        PID: UCS-MR-1X082RY-A
        Vendor Description: Samsung Electronics, Inc.
        Vendor Part Number: M393B1K70DH0-YK0
        Vendor Serial (SN): 128EE6FE
        ID 44:
        Product Name: 8GB DDR3-1600-MHz RDIMM/PC3-12800/dual rank/1.35v
        PID: UCS-MR-1X082RY-A
        Vendor Description: Samsung Electronics, Inc.
        Vendor Part Number: M393B1K70DH0-YK0
        Vendor Serial (SN): 128EE703
        ID 45:
        Product Name:
        PID:
        Vendor:
        Vendor Description:
        Vendor Part Number:
        Vendor Serial (SN):
        ID 46:
        Product Name: 8GB DDR3-1600-MHz RDIMM/PC3-12800/dual rank/1.35v
        PID: UCS-MR-1X082RY-A
        Vendor Description: Samsung Electronics, Inc.
        Vendor Part Number: M393B1K70DH0-YK0
        Vendor Serial (SN): 128EE6C2
        ID 47:
        Product Name: 8GB DDR3-1600-MHz RDIMM/PC3-12800/dual rank/1.35v
        PID: UCS-MR-1X082RY-A
        Vendor Description: Samsung Electronics, Inc.
        Vendor Part Number: M393B1K70DH0-YK0
        Vendor Serial (SN): 128EE702
        ID 48:
        Product Name:
        PID:
        Vendor:
        Vendor Description:
        Vendor Part Number:
        Vendor Serial (SN):
        CPUs:
        ID: 1
        Product Name: Intel(R) Xeon(R) E5-4640
        PID: UCS-CPU-E5-4640
        Vendor: Intel(R) Corporation
        ID: 2
        Product Name: Intel(R) Xeon(R) E5-4640
        PID: UCS-CPU-E5-4640
        Vendor: Intel(R) Corporation
        ID: 3
        Product Name: Intel(R) Xeon(R) E5-4640
        PID: UCS-CPU-E5-4640
        Vendor: Intel(R) Corporation
        ID: 4
        Product Name: Intel(R) Xeon(R) E5-4640
        PID: UCS-CPU-E5-4640
        Vendor: Intel(R) Corporation
        RAID Controller 1:
        Vendor: LSI Logic Symbios Logic
        Model: LSI MegaRAID SAS 2208 ROMB
        Serial: LSIROMB-0
        Raid Support: RAID0, RAID1, RAID5, RAID10
        Sub OEM ID: 0
        Supported RAID Battery Operations: Enable Learn,Disable Learn,Start Learn Cycle
        Product Name: 300GB 6Gb SAS 10K RPM SFF HDD/hot plug/drive sled mounted
        PID: A03-D300GA2
        Vendor: TOSHIBA
        Model: MBF2300RC
        Vendor Description: Toshiba Corporation
        Serial: EB10PC9055TE
        Product Name:
        PID:
        Vendor:
        Model:
        Vendor Description:
        Serial:
        Product Name:
        PID:
        Vendor:
        Model:
        Vendor Description:
        Serial:
        Product Name:
        PID:
        Vendor:
        Model:
        Vendor Description:
        Serial:
        Vendor Unique Identifier: 6e02f6d4-c27f-a000-1a16-4b9117b3aafc
    Adapters:
        Product Name: Cisco UCS VIC 1240
        PID: UCSB-MLOM-40G-01
        Vendor: Cisco Systems Inc
        Serial: FCH16527DPB
        Product Name: Cisco UCS VIC 1280
        PID: UCS-VIC-M82-8P
        Vendor: Cisco Systems Inc
        Serial: FCH16527DS5
Server 2/2:
    Equipped Product Name:
    Equipped PID:
    Equipped Vendor:
    Equipped Serial (SN):
    Acknowledged Product Name:
    Acknowledged Effective Memory (MB):
Server 2/3:
    Equipped Product Name: Cisco UCS B200 M3
    Equipped PID: UCSB-B200-M3
    Equipped Vendor: Cisco Systems Inc
    Equipped Serial (SN): FCH1702JAHL
    Acknowledged Product Name: Cisco UCS B200 M3
    Acknowledged Effective Memory (MB): 131072
        Model: UCSB-B200-M3
        Serial:
        Vendor: Cisco Systems, Inc.
        Model: UCSX-TPM1-001
        Vendor: Cisco Systems Inc
        Serial: FCH1616771T
    Motherboard:
        Product Name: Cisco UCS B200 M3
        PID: UCSB-B200-M3
        Vendor: Cisco Systems Inc
        Serial (SN): FCH1702JAHL
        Product Name:
        PID:
        Vendor:
        Serial (SN):
        ID 1:
        Product Name: 8GB DDR3-1600-MHz RDIMM/PC3-12800/dual rank/1.35v
        PID: UCS-MR-1X082RY-A
        Vendor Description: Samsung Electronics, Inc.
        Vendor Part Number: M393B1K70DH0-YK0
        Vendor Serial (SN): 128EE730
        ID 2:
        Product Name: 8GB DDR3-1600-MHz RDIMM/PC3-12800/dual rank/1.35v
        PID: UCS-MR-1X082RY-A
        Vendor Description: Samsung Electronics, Inc.
        Vendor Part Number: M393B1K70DH0-YK0
        Vendor Serial (SN): 128EE6BD
        ID 3:
        Product Name:
        PID:
        Vendor:
        Vendor Description:
        Vendor Part Number:
        Vendor Serial (SN):
        ID 4:
        Product Name: 8GB DDR3-1600-MHz RDIMM/PC3-12800/dual rank/1.35v
        PID: UCS-MR-1X082RY-A
        Vendor Description: Samsung Electronics, Inc.
        Vendor Part Number: M393B1K70DH0-YK0
        Vendor Serial (SN): 128EE721
        ID 5:
        Product Name: 8GB DDR3-1600-MHz RDIMM/PC3-12800/dual rank/1.35v
        PID: UCS-MR-1X082RY-A
        Vendor Description: Samsung Electronics, Inc.
        Vendor Part Number: M393B1K70DH0-YK0
        Vendor Serial (SN): 128EE727
        ID 6:
        Product Name:
        PID:
        Vendor:
        Vendor Description:
        Vendor Part Number:
        Vendor Serial (SN):
        ID 7:
        Product Name: 8GB DDR3-1600-MHz RDIMM/PC3-12800/dual rank/1.35v
        PID: UCS-MR-1X082RY-A
        Vendor Description: Samsung Electronics, Inc.
        Vendor Part Number: M393B1K70DH0-YK0
        Vendor Serial (SN): 128EE708
        ID 8:
        Product Name: 8GB DDR3-1600-MHz RDIMM/PC3-12800/dual rank/1.35v
        PID: UCS-MR-1X082RY-A
        Vendor Description: Samsung Electronics, Inc.
        Vendor Part Number: M393B1K70DH0-YK0
        Vendor Serial (SN): 128EE735
        ID 9:
        Product Name:
        PID:
        Vendor:
        Vendor Description:
        Vendor Part Number:
        Vendor Serial (SN):
        ID 10:
        Product Name: 8GB DDR3-1600-MHz RDIMM/PC3-12800/dual rank/1.35v
        PID: UCS-MR-1X082RY-A
        Vendor Description: Samsung Electronics, Inc.
        Vendor Part Number: M393B1K70DH0-YK0
        Vendor Serial (SN): 128EE706
        ID 11:
        Product Name: 8GB DDR3-1600-MHz RDIMM/PC3-12800/dual rank/1.35v
        PID: UCS-MR-1X082RY-A
        Vendor Description: Samsung Electronics, Inc.
        Vendor Part Number: M393B1K70DH0-YK0
        Vendor Serial (SN): 128EE700
        ID 12:
        Product Name:
        PID:
        Vendor:
        Vendor Description:
        Vendor Part Number:
        Vendor Serial (SN):
        ID 13:
        Product Name: 8GB DDR3-1600-MHz RDIMM/PC3-12800/dual rank/1.35v
        PID: UCS-MR-1X082RY-A
        Vendor Description: Samsung Electronics, Inc.
        Vendor Part Number: M393B1K70DH0-YK0
        Vendor Serial (SN): 128EE6FD
        ID 14:
        Product Name: 8GB DDR3-1600-MHz RDIMM/PC3-12800/dual rank/1.35v
        PID: UCS-MR-1X082RY-A
        Vendor Description: Samsung Electronics, Inc.
        Vendor Part Number: M393B1K70DH0-YK0
        Vendor Serial (SN): 128EE736
        ID 15:
        Product Name:
        PID:
        Vendor:
        Vendor Description:
        Vendor Part Number:
        Vendor Serial (SN):
        ID 16:
        Product Name: 8GB DDR3-1600-MHz RDIMM/PC3-12800/dual rank/1.35v
        PID: UCS-MR-1X082RY-A
        Vendor Description: Samsung Electronics, Inc.
        Vendor Part Number: M393B1K70DH0-YK0
        Vendor Serial (SN): 128EE6BB
        ID 17:
        Product Name: 8GB DDR3-1600-MHz RDIMM/PC3-12800/dual rank/1.35v
        PID: UCS-MR-1X082RY-A
        Vendor Description: Samsung Electronics, Inc.
        Vendor Part Number: M393B1K70DH0-YK0
        Vendor Serial (SN): 128EE731
        ID 18:
        Product Name:
        PID:
        Vendor:
        Vendor Description:
        Vendor Part Number:
        Vendor Serial (SN):
        ID 19:
        Product Name: 8GB DDR3-1600-MHz RDIMM/PC3-12800/dual rank/1.35v
        PID: UCS-MR-1X082RY-A
        Vendor Description: Samsung Electronics, Inc.
        Vendor Part Number: M393B1K70DH0-YK0
        Vendor Serial (SN): 128EE6FF
        ID 20:
        Product Name: 8GB DDR3-1600-MHz RDIMM/PC3-12800/dual rank/1.35v
        PID: UCS-MR-1X082RY-A
        Vendor Description: Samsung Electronics, Inc.
        Vendor Part Number: M393B1K70DH0-YK0
        Vendor Serial (SN): 128EE737
        ID 21:
        Product Name:
        PID:
        Vendor:
        Vendor Description:
        Vendor Part Number:
        Vendor Serial (SN):
        ID 22:
        Product Name: 8GB DDR3-1600-MHz RDIMM/PC3-12800/dual rank/1.35v
        PID: UCS-MR-1X082RY-A
        Vendor Description: Samsung Electronics, Inc.
        Vendor Part Number: M393B1K70DH0-YK0
        Vendor Serial (SN): 128EE734
        ID 23:
        Product Name: 8GB DDR3-1600-MHz RDIMM/PC3-12800/dual rank/1.35v
        PID: UCS-MR-1X082RY-A
        Vendor Description: Samsung Electronics, Inc.
        Vendor Part Number: M393B1K70DH0-YK0
        Vendor Serial (SN): 128EE72E
        ID 24:
        Product Name:
        PID:
        Vendor:
        Vendor Description:
        Vendor Part Number:
        Vendor Serial (SN):
        CPUs:
        ID: 1
        Product Name: Intel(R) Xeon(R) E5-2650
        PID: UCS-CPU-E5-2650
        Vendor: Intel(R) Corporation
        ID: 2
        Product Name: Intel(R) Xeon(R) E5-2650
        PID: UCS-CPU-E5-2650
        Vendor: Intel(R) Corporation
        RAID Controller 1:
        Vendor: LSI Logic Symbios Logic
        Model: LSI MegaRAID SAS 2004 ROMB
        Serial: LSIROMB-0
        Raid Support: RAID0, RAID1
        Sub OEM ID: 0
        Supported RAID Battery Operations: Enable Learn,Disable Learn,Start Learn Cycle
        Product Name: 100GB Read SATA SSD hot plug || 7mm drive sled/15mm drive sled
        PID: UCS-SD100G0KA2-G/UCS-SD100G0KA2-S
        Vendor: ATA
        Model: Micron_P400e-MTFDDAK100MAR
        Vendor Description: Micron - 2C00
        Serial: 14150C11FF04
        Product Name:
        PID:
        Vendor:
        Model:
        Vendor Description:
        Serial:
    Adapters:
        Product Name: Cisco UCS VIC 1240
        PID: UCSB-MLOM-40G-01
        Vendor: Cisco Systems Inc
        Serial: FCH16527DMT
Server 2/4:
    Equipped Product Name: Cisco UCS B200 M3
    Equipped PID: UCSB-B200-M3
    Equipped Vendor: Cisco Systems Inc
    Equipped Serial (SN): FCH1702JACJ
    Acknowledged Product Name: Cisco UCS B200 M3
    Acknowledged Effective Memory (MB): 131072
        Model: UCSB-B200-M3
        Serial:
        Vendor: Cisco Systems, Inc.
        Model: UCSX-TPM1-001
        Vendor: Cisco Systems Inc
        Serial: FCH161677J2
    Motherboard:
        Product Name: Cisco UCS B200 M3
        PID: UCSB-B200-M3
        Vendor: Cisco Systems Inc
        Serial (SN): FCH1702JACJ
        Product Name:
        PID:
        Vendor:
        Serial (SN):
        ID 1:
        Product Name: 8GB DDR3-1600-MHz RDIMM/PC3-12800/dual rank/1.35v
        PID: UCS-MR-1X082RY-A
        Vendor Description: Samsung Electronics, Inc.
        Vendor Part Number: M393B1K70DH0-YK0
        Vendor Serial (SN): 351671C4
        ID 2:
        Product Name: 8GB DDR3-1600-MHz RDIMM/PC3-12800/dual rank/1.35v
        PID: UCS-MR-1X082RY-A
        Vendor Description: Samsung Electronics, Inc.
        Vendor Part Number: M393B1K70DH0-YK0
        Vendor Serial (SN): 35166D18
        ID 3:
        Product Name:
        PID:
        Vendor:
        Vendor Description:
        Vendor Part Number:
        Vendor Serial (SN):
        ID 4:
        Product Name: 8GB DDR3-1600-MHz RDIMM/PC3-12800/dual rank/1.35v
        PID: UCS-MR-1X082RY-A
        Vendor Description: Samsung Electronics, Inc.
        Vendor Part Number: M393B1K70DH0-YK0
        Vendor Serial (SN): 35167190
        ID 5:
        Product Name: 8GB DDR3-1600-MHz RDIMM/PC3-12800/dual rank/1.35v
        PID: UCS-MR-1X082RY-A
        Vendor Description: Samsung Electronics, Inc.
        Vendor Part Number: M393B1K70DH0-YK0
        Vendor Serial (SN): 35166C62
        ID 6:
        Product Name:
        PID:
        Vendor:
        Vendor Description:
        Vendor Part Number:
        Vendor Serial (SN):
        ID 7:
        Product Name: 8GB DDR3-1600-MHz RDIMM/PC3-12800/dual rank/1.35v
        PID: UCS-MR-1X082RY-A
        Vendor Description: Samsung Electronics, Inc.
        Vendor Part Number: M393B1K70DH0-YK0
        Vendor Serial (SN): 128EE72C
        ID 8:
        Product Name: 8GB DDR3-1600-MHz RDIMM/PC3-12800/dual rank/1.35v
        PID: UCS-MR-1X082RY-A
        Vendor Description: Samsung Electronics, Inc.
        Vendor Part Number: M393B1K70DH0-YK0
        Vendor Serial (SN): 351670BA
        ID 9:
        Product Name:
        PID:
        Vendor:
        Vendor Description:
        Vendor Part Number:
        Vendor Serial (SN):
        ID 10:
        Product Name: 8GB DDR3-1600-MHz RDIMM/PC3-12800/dual rank/1.35v
        PID: UCS-MR-1X082RY-A
        Vendor Description: Samsung Electronics, Inc.
        Vendor Part Number: M393B1K70DH0-YK0
        Vendor Serial (SN): 3516760A
        ID 11:
        Product Name: 8GB DDR3-1600-MHz RDIMM/PC3-12800/dual rank/1.35v
        PID: UCS-MR-1X082RY-A
        Vendor Description: Samsung Electronics, Inc.
        Vendor Part Number: M393B1K70DH0-YK0
        Vendor Serial (SN): 351670EC
        ID 12:
        Product Name:
        PID:
        Vendor:
        Vendor Description:
        Vendor Part Number:
        Vendor Serial (SN):
        ID 13:
        Product Name: 8GB DDR3-1600-MHz RDIMM/PC3-12800/dual rank/1.35v
        PID: UCS-MR-1X082RY-A
        Vendor Description: Samsung Electronics, Inc.
        Vendor Part Number: M393B1K70DH0-YK0
        Vendor Serial (SN): 35166C96
        ID 14:
        Product Name: 8GB DDR3-1600-MHz RDIMM/PC3-12800/dual rank/1.35v
        PID: UCS-MR-1X082RY-A
        Vendor Description: Samsung Electronics, Inc.
        Vendor Part Number: M393B1K70DH0-YK0
        Vendor Serial (SN): 35167198
        ID 15:
        Product Name:
        PID:
        Vendor:
        Vendor Description:
        Vendor Part Number:
        Vendor Serial (SN):
        ID 16:
        Product Name: 8GB DDR3-1600-MHz RDIMM/PC3-12800/dual rank/1.35v
        PID: UCS-MR-1X082RY-A
        Vendor Description: Samsung Electronics, Inc.
        Vendor Part Number: M393B1K70DH0-YK0
        Vendor Serial (SN): 351670B9
        ID 17:
        Product Name: 8GB DDR3-1600-MHz RDIMM/PC3-12800/dual rank/1.35v
        PID: UCS-MR-1X082RY-A
        Vendor Description: Samsung Electronics, Inc.
        Vendor Part Number: M393B1K70DH0-YK0
        Vendor Serial (SN): 351671C2
        ID 18:
        Product Name:
        PID:
        Vendor:
        Vendor Description:
        Vendor Part Number:
        Vendor Serial (SN):
        ID 19:
        Product Name: 8GB DDR3-1600-MHz RDIMM/PC3-12800/dual rank/1.35v
        PID: UCS-MR-1X082RY-A
        Vendor Description: Samsung Electronics, Inc.
        Vendor Part Number: M393B1K70DH0-YK0
        Vendor Serial (SN): 351671C7
        ID 20:
        Product Name: 8GB DDR3-1600-MHz RDIMM/PC3-12800/dual rank/1.35v
        PID: UCS-MR-1X082RY-A
        Vendor Description: Samsung Electronics, Inc.
        Vendor Part Number: M393B1K70DH0-YK0
        Vendor Serial (SN): 351670BB
        ID 21:
        Product Name:
        PID:
        Vendor:
        Vendor Description:
        Vendor Part Number:
        Vendor Serial (SN):
        ID 22:
        Product Name: 8GB DDR3-1600-MHz RDIMM/PC3-12800/dual rank/1.35v
        PID: UCS-MR-1X082RY-A
        Vendor Description: Samsung Electronics, Inc.
        Vendor Part Number: M393B1K70DH0-YK0
        Vendor Serial (SN): 351671C3
        ID 23:
        Product Name: 8GB DDR3-1600-MHz RDIMM/PC3-12800/dual rank/1.35v
        PID: UCS-MR-1X082RY-A
        Vendor Description: Samsung Electronics, Inc.
        Vendor Part Number: M393B1K70DH0-YK0
        Vendor Serial (SN): 128EE679
        ID 24:
        Product Name:
        PID:
        Vendor:
        Vendor Description:
        Vendor Part Number:
        Vendor Serial (SN):
        CPUs:
        ID: 1
        Product Name: Intel(R) Xeon(R) E5-2650
        PID: UCS-CPU-E5-2650
        Vendor: Intel(R) Corporation
        ID: 2
        Product Name: Intel(R) Xeon(R) E5-2650
        PID: UCS-CPU-E5-2650
        Vendor: Intel(R) Corporation
        RAID Controller 1:
        Vendor: LSI Logic Symbios Logic
        Model: LSI MegaRAID SAS 2004 ROMB
        Serial: LSIROMB-0
        Raid Support: RAID0, RAID1
        Sub OEM ID: 0
        Supported RAID Battery Operations: Enable Learn,Disable Learn,Start Learn Cycle
        Product Name: 100GB Read SATA SSD hot plug || 7mm drive sled/15mm drive sled
        PID: UCS-SD100G0KA2-G/UCS-SD100G0KA2-S
        Vendor: ATA
        Model: Micron_P400e-MTFDDAK100MAR
        Vendor Description: Micron - 2C00
        Serial: 14150C11FF28
        Product Name:
        PID:
        Vendor:
        Model:
        Vendor Description:
        Serial:
    Adapters:
        Product Name: Cisco UCS VIC 1240
        PID: UCSB-MLOM-40G-01
        Vendor: Cisco Systems Inc
        Serial: FCH16527DP1
Server 2/5:
    Equipped Product Name: Cisco UCS B200 M3
    Equipped PID: UCSB-B200-M3
    Equipped Vendor: Cisco Systems Inc
    Equipped Serial (SN): FCH1702JAU2
    Acknowledged Product Name: Cisco UCS B200 M3
    Acknowledged Effective Memory (MB): 131072
        Model: UCSB-B200-M3
        Serial:
        Vendor: Cisco Systems, Inc.
        Model: UCSX-TPM1-001
        Vendor: Cisco Systems Inc
        Serial: FCH1616771V
    Motherboard:
        Product Name: Cisco UCS B200 M3
        PID: UCSB-B200-M3
        Vendor: Cisco Systems Inc
        Serial (SN): FCH1702JAU2
        Product Name:
        PID:
        Vendor:
        Serial (SN):
        ID 1:
        Product Name: 8GB DDR3-1600-MHz RDIMM/PC3-12800/dual rank/1.35v
        PID: UCS-MR-1X082RY-A
        Vendor Description: Samsung Electronics, Inc.
        Vendor Part Number: M393B1K70DH0-YK0
        Vendor Serial (SN): 3516760C
        ID 2:
        Product Name: 8GB DDR3-1600-MHz RDIMM/PC3-12800/dual rank/1.35v
        PID: UCS-MR-1X082RY-A
        Vendor Description: Samsung Electronics, Inc.
        Vendor Part Number: M393B1K70DH0-YK0
        Vendor Serial (SN): 35167140
        ID 3:
        Product Name:
        PID:
        Vendor:
        Vendor Description:
        Vendor Part Number:
        Vendor Serial (SN):
        ID 4:
        Product Name: 8GB DDR3-1600-MHz RDIMM/PC3-12800/dual rank/1.35v
        PID: UCS-MR-1X082RY-A
        Vendor Description: Samsung Electronics, Inc.
        Vendor Part Number: M393B1K70DH0-YK0
        Vendor Serial (SN): 3516760B
        ID 5:
        Product Name: 8GB DDR3-1600-MHz RDIMM/PC3-12800/dual rank/1.35v
        PID: UCS-MR-1X082RY-A
        Vendor Description: Samsung Electronics, Inc.
        Vendor Part Number: M393B1K70DH0-YK0
        Vendor Serial (SN): 351670EF
        ID 6:
        Product Name:
        PID:
        Vendor:
        Vendor Description:
        Vendor Part Number:
        Vendor Serial (SN):
        ID 7:
        Product Name: 8GB DDR3-1600-MHz RDIMM/PC3-12800/dual rank/1.35v
        PID: UCS-MR-1X082RY-A
        Vendor Description: Samsung Electronics, Inc.
        Vendor Part Number: M393B1K70DH0-YK0
        Vendor Serial (SN): 351670B8
        ID 8:
        Product Name: 8GB DDR3-1600-MHz RDIMM/PC3-12800/dual rank/1.35v
        PID: UCS-MR-1X082RY-A
        Vendor Description: Samsung Electronics, Inc.
        Vendor Part Number: M393B1K70DH0-YK0
        Vendor Serial (SN): 35167193
        ID 9:
        Product Name:
        PID:
        Vendor:
        Vendor Description:
        Vendor Part Number:
        Vendor Serial (SN):
        ID 10:
        Product Name: 8GB DDR3-1600-MHz RDIMM/PC3-12800/dual rank/1.35v
        PID: UCS-MR-1X082RY-A
        Vendor Description: Samsung Electronics, Inc.
        Vendor Part Number: M393B1K70DH0-YK0
        Vendor Serial (SN): 351670B6
        ID 11:
        Product Name: 8GB DDR3-1600-MHz RDIMM/PC3-12800/dual rank/1.35v
        PID: UCS-MR-1X082RY-A
        Vendor Description: Samsung Electronics, Inc.
        Vendor Part Number: M393B1K70DH0-YK0
        Vendor Serial (SN): 35167196
        ID 12:
        Product Name:
        PID:
        Vendor:
        Vendor Description:
        Vendor Part Number:
        Vendor Serial (SN):
        ID 13:
        Product Name: 8GB DDR3-1600-MHz RDIMM/PC3-12800/dual rank/1.35v
        PID: UCS-MR-1X082RY-A
        Vendor Description: Samsung Electronics, Inc.
        Vendor Part Number: M393B1K70DH0-YK0
        Vendor Serial (SN): 35167197
        ID 14:
        Product Name: 8GB DDR3-1600-MHz RDIMM/PC3-12800/dual rank/1.35v
        PID: UCS-MR-1X082RY-A
        Vendor Description: Samsung Electronics, Inc.
        Vendor Part Number: M393B1K70DH0-YK0
        Vendor Serial (SN): 3516760D
        ID 15:
        Product Name:
        PID:
        Vendor:
        Vendor Description:
        Vendor Part Number:
        Vendor Serial (SN):
        ID 16:
        Product Name: 8GB DDR3-1600-MHz RDIMM/PC3-12800/dual rank/1.35v
        PID: UCS-MR-1X082RY-A
        Vendor Description: Samsung Electronics, Inc.
        Vendor Part Number: M393B1K70DH0-YK0
        Vendor Serial (SN): 351670EE
        ID 17:
        Product Name: 8GB DDR3-1600-MHz RDIMM/PC3-12800/dual rank/1.35v
        PID: UCS-MR-1X082RY-A
        Vendor Description: Samsung Electronics, Inc.
        Vendor Part Number: M393B1K70DH0-YK0
        Vendor Serial (SN): 87E80959
        ID 18:
        Product Name:
        PID:
        Vendor:
        Vendor Description:
        Vendor Part Number:
        Vendor Serial (SN):
        ID 19:
        Product Name: 8GB DDR3-1600-MHz RDIMM/PC3-12800/dual rank/1.35v
        PID: UCS-MR-1X082RY-A
        Vendor Description: Samsung Electronics, Inc.
        Vendor Part Number: M393B1K70DH0-YK0
        Vendor Serial (SN): 138EFA8C
        ID 20:
        Product Name: 8GB DDR3-1600-MHz RDIMM/PC3-12800/dual rank/1.35v
        PID: UCS-MR-1X082RY-A
        Vendor Description: Samsung Electronics, Inc.
        Vendor Part Number: M393B1K70DH0-YK0
        Vendor Serial (SN): 138EFA8F
        ID 21:
        Product Name:
        PID:
        Vendor:
        Vendor Description:
        Vendor Part Number:
        Vendor Serial (SN):
        ID 22:
        Product Name: 8GB DDR3-1600-MHz RDIMM/PC3-12800/dual rank/1.35v
        PID: UCS-MR-1X082RY-A
        Vendor Description: Samsung Electronics, Inc.
        Vendor Part Number: M393B1K70DH0-YK0
        Vendor Serial (SN): 138EFA23
        ID 23:
        Product Name: 8GB DDR3-1600-MHz RDIMM/PC3-12800/dual rank/1.35v
        PID: UCS-MR-1X082RY-A
        Vendor Description: Samsung Electronics, Inc.
        Vendor Part Number: M393B1K70DH0-YK0
        Vendor Serial (SN): 87E8096A
        ID 24:
        Product Name:
        PID:
        Vendor:
        Vendor Description:
        Vendor Part Number:
        Vendor Serial (SN):
        CPUs:
        ID: 1
        Product Name: Intel(R) Xeon(R) E5-2650
        PID: UCS-CPU-E5-2650
        Vendor: Intel(R) Corporation
        ID: 2
        Product Name: Intel(R) Xeon(R) E5-2650
        PID: UCS-CPU-E5-2650
        Vendor: Intel(R) Corporation
        RAID Controller 1:
        Vendor: LSI Logic Symbios Logic
        Model: LSI MegaRAID SAS 2004 ROMB
        Serial: LSIROMB-0
        Raid Support: RAID0, RAID1
        Sub OEM ID: 0
        Supported RAID Battery Operations: Enable Learn,Disable Learn,Start Learn Cycle
        Product Name: 100GB Read SATA SSD hot plug || 7mm drive sled/15mm drive sled
        PID: UCS-SD100G0KA2-G/UCS-SD100G0KA2-S
        Vendor: ATA
        Model: Micron_P400e-MTFDDAK100MAR
        Vendor Description: Micron - 2C00
        Serial: 14150C11FF52
        Product Name:
        PID:
        Vendor:
        Model:
        Vendor Description:
        Serial:
    Adapters:
        Product Name: Cisco UCS VIC 1240
        PID: UCSB-MLOM-40G-01
        Vendor: Cisco Systems Inc
        Serial: FCH1650J89Y
Server 2/6:
    Equipped Product Name: Cisco UCS B200 M3
    Equipped PID: UCSB-B200-M3
    Equipped Vendor: Cisco Systems Inc
    Equipped Serial (SN): FCH18277R8H
    Acknowledged Product Name: Cisco UCS B200 M3
    Acknowledged Effective Memory (MB): 262144
        Model: UCSB-B200-M3
        Serial:
        Vendor: Cisco Systems, Inc.
    Motherboard:
        Product Name: Cisco UCS B200 M3
        PID: UCSB-B200-M3
        Vendor: Cisco Systems Inc
        Serial (SN): FCH18277R8H
        Product Name:
        PID:
        Vendor:
        Serial (SN):
        ID 1:
        Product Name: 16GB DDR3-1866MHz RDIMM/PC3-14900/dual rank/1.5V
        PID: UCS-MR-1X162RZ-A
        Vendor Description: Samsung
        Vendor Part Number: M393B2G70DB0-CMA
        Vendor Serial (SN): 3881A719
        ID 2:
        Product Name: 16GB DDR3-1866MHz RDIMM/PC3-14900/dual rank/1.5V
        PID: UCS-MR-1X162RZ-A
        Vendor Description: Samsung
        Vendor Part Number: M393B2G70DB0-CMA
        Vendor Serial (SN): 3881A713
        ID 3:
        Product Name:
        PID:
        Vendor:
        Vendor Description:
        Vendor Part Number:
        Vendor Serial (SN):
        ID 4:
        Product Name: 16GB DDR3-1866MHz RDIMM/PC3-14900/dual rank/1.5V
        PID: UCS-MR-1X162RZ-A
        Vendor Description: Samsung
        Vendor Part Number: M393B2G70DB0-CMA
        Vendor Serial (SN): 3881A837
        ID 5:
        Product Name: 16GB DDR3-1866MHz RDIMM/PC3-14900/dual rank/1.5V
        PID: UCS-MR-1X162RZ-A
        Vendor Description: Samsung
        Vendor Part Number: M393B2G70DB0-CMA
        Vendor Serial (SN): 3881B4D2
        ID 6:
        Product Name:
        PID:
        Vendor:
        Vendor Description:
        Vendor Part Number:
        Vendor Serial (SN):
        ID 7:
        Product Name: 16GB DDR3-1866MHz RDIMM/PC3-14900/dual rank/1.5V
        PID: UCS-MR-1X162RZ-A
        Vendor Description: Samsung
        Vendor Part Number: M393B2G70DB0-CMA
        Vendor Serial (SN): 3881B495
        ID 8:
        Product Name: 16GB DDR3-1866MHz RDIMM/PC3-14900/dual rank/1.5V
        PID: UCS-MR-1X162RZ-A
        Vendor Description: Samsung
        Vendor Part Number: M393B2G70DB0-CMA
        Vendor Serial (SN): 3881A64D
        ID 9:
        Product Name:
        PID:
        Vendor:
        Vendor Description:
        Vendor Part Number:
        Vendor Serial (SN):
        ID 10:
        Product Name: 16GB DDR3-1866MHz RDIMM/PC3-14900/dual rank/1.5V
        PID: UCS-MR-1X162RZ-A
        Vendor Description: Samsung
        Vendor Part Number: M393B2G70DB0-CMA
        Vendor Serial (SN): 3881B509
        ID 11:
        Product Name: 16GB DDR3-1866MHz RDIMM/PC3-14900/dual rank/1.5V
        PID: UCS-MR-1X162RZ-A
        Vendor Description: Samsung
        Vendor Part Number: M393B2G70DB0-CMA
        Vendor Serial (SN): 3881B4D3
        ID 12:
        Product Name:
        PID:
        Vendor:
        Vendor Description:
        Vendor Part Number:
        Vendor Serial (SN):
        ID 13:
        Product Name: 16GB DDR3-1866MHz RDIMM/PC3-14900/dual rank/1.5V
        PID: UCS-MR-1X162RZ-A
        Vendor Description: Samsung
        Vendor Part Number: M393B2G70DB0-CMA
        Vendor Serial (SN): 3881B50B
        ID 14:
        Product Name: 16GB DDR3-1866MHz RDIMM/PC3-14900/dual rank/1.5V
        PID: UCS-MR-1X162RZ-A
        Vendor Description: Samsung
        Vendor Part Number: M393B2G70DB0-CMA
        Vendor Serial (SN): 3881A7B4
        ID 15:
        Product Name:
        PID:
        Vendor:
        Vendor Description:
        Vendor Part Number:
        Vendor Serial (SN):
        ID 16:
        Product Name: 16GB DDR3-1866MHz RDIMM/PC3-14900/dual rank/1.5V
        PID: UCS-MR-1X162RZ-A
        Vendor Description: Samsung
        Vendor Part Number: M393B2G70DB0-CMA
        Vendor Serial (SN): 3881B507
        ID 17:
        Product Name: 16GB DDR3-1866MHz RDIMM/PC3-14900/dual rank/1.5V
        PID: UCS-MR-1X162RZ-A
        Vendor Description: Samsung
        Vendor Part Number: M393B2G70DB0-CMA
        Vendor Serial (SN): 3881B4D4
        ID 18:
        Product Name:
        PID:
        Vendor:
        Vendor Description:
        Vendor Part Number:
        Vendor Serial (SN):
        ID 19:
        Product Name: 16GB DDR3-1866MHz RDIMM/PC3-14900/dual rank/1.5V
        PID: UCS-MR-1X162RZ-A
        Vendor Description: Samsung
        Vendor Part Number: M393B2G70DB0-CMA
        Vendor Serial (SN): 3881B4D8
        ID 20:
        Product Name: 16GB DDR3-1866MHz RDIMM/PC3-14900/dual rank/1.5V
        PID: UCS-MR-1X162RZ-A
        Vendor Description: Samsung
        Vendor Part Number: M393B2G70DB0-CMA
        Vendor Serial (SN): 3881B506
        ID 21:
        Product Name:
        PID:
        Vendor:
        Vendor Description:
        Vendor Part Number:
        Vendor Serial (SN):
        ID 22:
        Product Name: 16GB DDR3-1866MHz RDIMM/PC3-14900/dual rank/1.5V
        PID: UCS-MR-1X162RZ-A
        Vendor Description: Samsung
        Vendor Part Number: M393B2G70DB0-CMA
        Vendor Serial (SN): 3881B504
        ID 23:
        Product Name: 16GB DDR3-1866MHz RDIMM/PC3-14900/dual rank/1.5V
        PID: UCS-MR-1X162RZ-A
        Vendor Description: Samsung
        Vendor Part Number: M393B2G70DB0-CMA
        Vendor Serial (SN): 3881B50D
        ID 24:
        Product Name:
        PID:
        Vendor:
        Vendor Description:
        Vendor Part Number:
        Vendor Serial (SN):
        CPUs:
        ID: 1
        Product Name: Intel(R) Xeon(R) E5-2680 v2
        PID: UCS-CPU-E52680B
        Vendor: Intel(R) Corporation
        ID: 2
        Product Name: Intel(R) Xeon(R) E5-2680 v2
        PID: UCS-CPU-E52680B
        Vendor: Intel(R) Corporation
        RAID Controller 1:
        Vendor: LSI Logic Symbios Logic
        Model: LSI MegaRAID SAS 2004 ROMB
        Serial: LSIROMB-0
        Raid Support: RAID0, RAID1
        Sub OEM ID: 0
        Supported RAID Battery Operations: Enable Learn,Disable Learn,Start Learn Cycle
        Product Name: 100GB Read SATA SSD hot plug || 7mm drive sled/15mm drive sled
        PID: UCS-SD100G0KA2-G/UCS-SD100G0KA2-S
        Vendor: ATA
        Model: Micron_P400e-MTFDDAK100MAR
        Vendor Description: Micron - 2C00
        Serial: 14150C11FF2C
        Product Name:
        PID:
        Vendor:
        Model:
        Vendor Description:
        Serial:
    Adapters:
        Product Name: Cisco UCS VIC 1240
        PID: UCSB-MLOM-40G-01
        Vendor: Cisco Systems Inc
        Serial: FCH1828KTWY
Server 2/7:
    Equipped Product Name: Cisco UCS B200 M3
    Equipped PID: UCSB-B200-M3
    Equipped Vendor: Cisco Systems Inc
    Equipped Serial (SN): FCH18277RV2
    Acknowledged Product Name: Cisco UCS B200 M3
    Acknowledged Effective Memory (MB): 262144
        Model: UCSB-B200-M3
        Serial:
        Vendor: Cisco Systems, Inc.
    Motherboard:
        Product Name: Cisco UCS B200 M3
        PID: UCSB-B200-M3
        Vendor: Cisco Systems Inc
        Serial (SN): FCH18277RV2
        Product Name:
        PID:
        Vendor:
        Serial (SN):
        ID 1:
        Product Name: 16GB DDR3-1866MHz RDIMM/PC3-14900/dual rank/1.5V
        PID: UCS-MR-1X162RZ-A
        Vendor Description: Samsung
        Vendor Part Number: M393B2G70DB0-CMA
        Vendor Serial (SN): 388165C8
        ID 2:
        Product Name: 16GB DDR3-1866MHz RDIMM/PC3-14900/dual rank/1.5V
        PID: UCS-MR-1X162RZ-A
        Vendor Description: Samsung
        Vendor Part Number: M393B2G70DB0-CMA
        Vendor Serial (SN): 38815CDD
        ID 3:
        Product Name:
        PID:
        Vendor:
        Vendor Description:
        Vendor Part Number:
        Vendor Serial (SN):
        ID 4:
        Product Name: 16GB DDR3-1866MHz RDIMM/PC3-14900/dual rank/1.5V
        PID: UCS-MR-1X162RZ-A
        Vendor Description: Samsung
        Vendor Part Number: M393B2G70DB0-CMA
        Vendor Serial (SN): 38815C8F
        ID 5:
        Product Name: 16GB DDR3-1866MHz RDIMM/PC3-14900/dual rank/1.5V
        PID: UCS-MR-1X162RZ-A
        Vendor Description: Samsung
        Vendor Part Number: M393B2G70DB0-CMA
        Vendor Serial (SN): 38815CC7
        ID 6:
        Product Name:
        PID:
        Vendor:
        Vendor Description:
        Vendor Part Number:
        Vendor Serial (SN):
        ID 7:
        Product Name: 16GB DDR3-1866MHz RDIMM/PC3-14900/dual rank/1.5V
        PID: UCS-MR-1X162RZ-A
        Vendor Description: Samsung
        Vendor Part Number: M393B2G70DB0-CMA
        Vendor Serial (SN): 38815DFB
        ID 8:
        Product Name: 16GB DDR3-1866MHz RDIMM/PC3-14900/dual rank/1.5V
        PID: UCS-MR-1X162RZ-A
        Vendor Description: Samsung
        Vendor Part Number: M393B2G70DB0-CMA
        Vendor Serial (SN): 38815D53
        ID 9:
        Product Name:
        PID:
        Vendor:
        Vendor Description:
        Vendor Part Number:
        Vendor Serial (SN):
        ID 10:
        Product Name: 16GB DDR3-1866MHz RDIMM/PC3-14900/dual rank/1.5V
        PID: UCS-MR-1X162RZ-A
        Vendor Description: Samsung
        Vendor Part Number: M393B2G70DB0-CMA
        Vendor Serial (SN): 38815CDC
        ID 11:
        Product Name: 16GB DDR3-1866MHz RDIMM/PC3-14900/dual rank/1.5V
        PID: UCS-MR-1X162RZ-A
        Vendor Description: Samsung
        Vendor Part Number: M393B2G70DB0-CMA
        Vendor Serial (SN): 38815C95
        ID 12:
        Product Name:
        PID:
        Vendor:
        Vendor Description:
        Vendor Part Number:
        Vendor Serial (SN):
        ID 13:
        Product Name: 16GB DDR3-1866MHz RDIMM/PC3-14900/dual rank/1.5V
        PID: UCS-MR-1X162RZ-A
        Vendor Description: Samsung
        Vendor Part Number: M393B2G70DB0-CMA
        Vendor Serial (SN): 38816472
        ID 14:
        Product Name: 16GB DDR3-1866MHz RDIMM/PC3-14900/dual rank/1.5V
        PID: UCS-MR-1X162RZ-A
        Vendor Description: Samsung
        Vendor Part Number: M393B2G70DB0-CMA
        Vendor Serial (SN): 3881653F
        ID 15:
        Product Name:
        PID:
        Vendor:
        Vendor Description:
        Vendor Part Number:
        Vendor Serial (SN):
        ID 16:
        Product Name: 16GB DDR3-1866MHz RDIMM/PC3-14900/dual rank/1.5V
        PID: UCS-MR-1X162RZ-A
        Vendor Description: Samsung
        Vendor Part Number: M393B2G70DB0-CMA
        Vendor Serial (SN): 38815CE0
        ID 17:
        Product Name: 16GB DDR3-1866MHz RDIMM/PC3-14900/dual rank/1.5V
        PID: UCS-MR-1X162RZ-A
        Vendor Description: Samsung
        Vendor Part Number: M393B2G70DB0-CMA
        Vendor Serial (SN): 38815CA7
        ID 18:
        Product Name:
        PID:
        Vendor:
        Vendor Description:
        Vendor Part Number:
        Vendor Serial (SN):
        ID 19:
        Product Name: 16GB DDR3-1866MHz RDIMM/PC3-14900/dual rank/1.5V
        PID: UCS-MR-1X162RZ-A
        Vendor Description: Samsung
        Vendor Part Number: M393B2G70DB0-CMA
        Vendor Serial (SN): 38815C94
        ID 20:
        Product Name: 16GB DDR3-1866MHz RDIMM/PC3-14900/dual rank/1.5V
        PID: UCS-MR-1X162RZ-A
        Vendor Description: Samsung
        Vendor Part Number: M393B2G70DB0-CMA
        Vendor Serial (SN): 38815D4F
        ID 21:
        Product Name:
        PID:
        Vendor:
        Vendor Description:
        Vendor Part Number:
        Vendor Serial (SN):
        ID 22:
        Product Name: 16GB DDR3-1866MHz RDIMM/PC3-14900/dual rank/1.5V
        PID: UCS-MR-1X162RZ-A
        Vendor Description: Samsung
        Vendor Part Number: M393B2G70DB0-CMA
        Vendor Serial (SN): 38815CA6
        ID 23:
        Product Name: 16GB DDR3-1866MHz RDIMM/PC3-14900/dual rank/1.5V
        PID: UCS-MR-1X162RZ-A
        Vendor Description: Samsung
        Vendor Part Number: M393B2G70DB0-CMA
        Vendor Serial (SN): 38816676
        ID 24:
        Product Name:
        PID:
        Vendor:
        Vendor Description:
        Vendor Part Number:
        Vendor Serial (SN):
        CPUs:
        ID: 1
        Product Name: Intel(R) Xeon(R) E5-2680 v2
        PID: UCS-CPU-E52680B
        Vendor: Intel(R) Corporation
        ID: 2
        Product Name: Intel(R) Xeon(R) E5-2680 v2
        PID: UCS-CPU-E52680B
        Vendor: Intel(R) Corporation
        RAID Controller 1:
        Vendor: LSI Logic Symbios Logic
        Model: LSI MegaRAID SAS 2004 ROMB
        Serial: LSIROMB-0
        Raid Support: RAID0, RAID1
        Sub OEM ID: 0
        Supported RAID Battery Operations: Enable Learn,Disable Learn,Start Learn Cycle
        Product Name: 100GB Read SATA SSD hot plug || 7mm drive sled/15mm drive sled
        PID: UCS-SD100G0KA2-G/UCS-SD100G0KA2-S
        Vendor: ATA
        Model: Micron_P400e-MTFDDAK100MAR
        Vendor Description: Micron - 2C00
        Serial: 14150C11FFB2
        Product Name:
        PID:
        Vendor:
        Model:
        Vendor Description:
        Serial:
    Adapters:
        Product Name: Cisco UCS VIC 1240
        PID: UCSB-MLOM-40G-01
        Vendor: Cisco Systems Inc
        Serial: FCH1828KVHP
Server 2/8:
    Equipped Product Name: Cisco UCS B200 M3
    Equipped PID: UCSB-B200-M3
    Equipped Vendor: Cisco Systems Inc
    Equipped Serial (SN): FCH20287G36
    Acknowledged Product Name: Cisco UCS B200 M3
    Acknowledged Effective Memory (MB): 262144
        Model: UCSB-B200-M3
        Serial:
        Vendor: Cisco Systems, Inc.
    Motherboard:
        Product Name: Cisco UCS B200 M3
        PID: UCSB-B200-M3
        Vendor: Cisco Systems Inc
        Serial (SN): FCH20287G36
        Product Name:
        PID:
        Vendor:
        Serial (SN):
        ID 1:
        Product Name: 16GB DDR3-1866MHz RDIMM/PC3-14900/dual rank/1.5V
        PID: UCS-MR-1X162RZ-A
        Vendor Description: Samsung
        Vendor Part Number: M393B2G70DB0-CMA
        Vendor Serial (SN): 38806BAC
        ID 2:
        Product Name: 16GB DDR3-1866MHz RDIMM/PC3-14900/dual rank/1.5V
        PID: UCS-MR-1X162RZ-A
        Vendor Description: Samsung
        Vendor Part Number: M393B2G70DB0-CMA
        Vendor Serial (SN): 38807577
        ID 3:
        Product Name:
        PID:
        Vendor:
        Vendor Description:
        Vendor Part Number:
        Vendor Serial (SN):
        ID 4:
        Product Name: 16GB DDR3-1866MHz RDIMM/PC3-14900/dual rank/1.5V
        PID: UCS-MR-1X162RZ-A
        Vendor Description: Samsung
        Vendor Part Number: M393B2G70DB0-CMA
        Vendor Serial (SN): 38806B97
        ID 5:
        Product Name: 16GB DDR3-1866MHz RDIMM/PC3-14900/dual rank/1.5V
        PID: UCS-MR-1X162RZ-A
        Vendor Description: Samsung
        Vendor Part Number: M393B2G70DB0-CMA
        Vendor Serial (SN): 3880757D
        ID 6:
        Product Name:
        PID:
        Vendor:
        Vendor Description:
        Vendor Part Number:
        Vendor Serial (SN):
        ID 7:
        Product Name: 16GB DDR3-1866MHz RDIMM/PC3-14900/dual rank/1.5V
        PID: UCS-MR-1X162RZ-A
        Vendor Description: Samsung
        Vendor Part Number: M393B2G70DB0-CMA
        Vendor Serial (SN): 388CDC5E
        ID 8:
        Product Name: 16GB DDR3-1866MHz RDIMM/PC3-14900/dual rank/1.5V
        PID: UCS-MR-1X162RZ-A
        Vendor: 0xAD00
        Vendor Description: Hynix
        Vendor Part Number: HMT42GR7AFR4C-RD
        Vendor Serial (SN): 40C9C60A
        ID 9:
        Product Name:
        PID:
        Vendor:
        Vendor Description:
        Vendor Part Number:
        Vendor Serial (SN):
        ID 10:
        Product Name: 16GB DDR3-1866MHz RDIMM/PC3-14900/dual rank/1.5V
        PID: UCS-MR-1X162RZ-A
        Vendor Description: Samsung
        Vendor Part Number: M393B2G70DB0-CMA
        Vendor Serial (SN): 38807578
        ID 11:
        Product Name: 16GB DDR3-1866MHz RDIMM/PC3-14900/dual rank/1.5V
        PID: UCS-MR-1X162RZ-A
        Vendor Description: Samsung
        Vendor Part Number: M393B2G70DB0-CMA
        Vendor Serial (SN): 38808B54
        ID 12:
        Product Name:
        PID:
        Vendor:
        Vendor Description:
        Vendor Part Number:
        Vendor Serial (SN):
        ID 13:
        Product Name: 16GB DDR3-1866MHz RDIMM/PC3-14900/dual rank/1.5V
        PID: UCS-MR-1X162RZ-A
        Vendor Description: Samsung
        Vendor Part Number: M393B2G70DB0-CMA
        Vendor Serial (SN): 38806B9B
        ID 14:
        Product Name: 16GB DDR3-1866MHz RDIMM/PC3-14900/dual rank/1.5V
        PID: UCS-MR-1X162RZ-A
        Vendor Description: Samsung
        Vendor Part Number: M393B2G70DB0-CMA
        Vendor Serial (SN): 3880754A
        ID 15:
        Product Name:
        PID:
        Vendor:
        Vendor Description:
        Vendor Part Number:
        Vendor Serial (SN):
        ID 16:
        Product Name: 16GB DDR3-1866MHz RDIMM/PC3-14900/dual rank/1.5V
        PID: UCS-MR-1X162RZ-A
        Vendor Description: Samsung
        Vendor Part Number: M393B2G70DB0-CMA
        Vendor Serial (SN): 38807548
        ID 17:
        Product Name: 16GB DDR3-1866MHz RDIMM/PC3-14900/dual rank/1.5V
        PID: UCS-MR-1X162RZ-A
        Vendor Description: Samsung
        Vendor Part Number: M393B2G70DB0-CMA
        Vendor Serial (SN): 38806BC7
        ID 18:
        Product Name:
        PID:
        Vendor:
        Vendor Description:
        Vendor Part Number:
        Vendor Serial (SN):
        ID 19:
        Product Name: 16GB DDR3-1866MHz RDIMM/PC3-14900/dual rank/1.5V
        PID: UCS-MR-1X162RZ-A
        Vendor Description: Samsung
        Vendor Part Number: M393B2G70DB0-CMA
        Vendor Serial (SN): 38806BAF
        ID 20:
        Product Name: 16GB DDR3-1866MHz RDIMM/PC3-14900/dual rank/1.5V
        PID: UCS-MR-1X162RZ-A
        Vendor Description: Samsung
        Vendor Part Number: M393B2G70DB0-CMA
        Vendor Serial (SN): 38807544
        ID 21:
        Product Name:
        PID:
        Vendor:
        Vendor Description:
        Vendor Part Number:
        Vendor Serial (SN):
        ID 22:
        Product Name: 16GB DDR3-1866MHz RDIMM/PC3-14900/dual rank/1.5V
        PID: UCS-MR-1X162RZ-A
        Vendor Description: Samsung
        Vendor Part Number: M393B2G70DB0-CMA
        Vendor Serial (SN): 38806BA6
        ID 23:
        Product Name: 16GB DDR3-1866MHz RDIMM/PC3-14900/dual rank/1.5V
        PID: UCS-MR-1X162RZ-A
        Vendor Description: Samsung
        Vendor Part Number: M393B2G70DB0-CMA
        Vendor Serial (SN): 38807545
        ID 24:
        Product Name:
        PID:
        Vendor:
        Vendor Description:
        Vendor Part Number:
        Vendor Serial (SN):
        CPUs:
        ID: 1
        Product Name: Intel(R) Xeon(R) E5-2680 v2
        PID: UCS-CPU-E52680B
        Vendor: Intel(R) Corporation
        ID: 2
        Product Name: Intel(R) Xeon(R) E5-2680 v2
        PID: UCS-CPU-E52680B
        Vendor: Intel(R) Corporation
        RAID Controller 1:
        Vendor: LSI Logic Symbios Logic
        Model: LSI MegaRAID SAS 2004 ROMB
        Serial: LSIROMB-0
        Raid Support: RAID0, RAID1
        Sub OEM ID: 0
        Supported RAID Battery Operations: Enable Learn,Disable Learn,Start Learn Cycle
        Product Name: 100GB Read SATA SSD hot plug || 7mm drive sled/15mm drive sled
        PID: UCS-SD100G0KA2-G/UCS-SD100G0KA2-S
        Vendor: ATA
        Model: Micron_P400e-MTFDDAK100MAR
        Vendor Description: Micron - 2C00
        Serial: 14150C11FF09
        Product Name:
        PID:
        Vendor:
        Model:
        Vendor Description:
        Serial:
    Adapters:
        Product Name: Cisco UCS VIC 1240
        PID: UCSB-MLOM-40G-01
        Vendor: Cisco Systems Inc
        Serial: FCH1828KVHQ
TOSHIBA MBF2300RC PN CA07173-B21000CS SN EB10PC9055GF
TOSHIBA MBF2300RC PN CA07173-B21000CS SN EB10PC9055VS
TOSHIBA MBF2300RC PN CA07173-B21000CS SN EB10PC9055SE